IHW IRSN Infrared Filter Sets

Description:

Information on 22 different filter sets used for infrared imaging, photometry, and polarimetry during the IHW are described. This includes:

Observatory

Instrument

Filter Name

Central Wavelength

Effective Wavelength (often mutually exclusive with above)

Bandpass

Manufacturer (sometimes)

Individual transmission curves are available for 7 sets, and are included in the IHW IRSN Infrared Filter Curves data base.

Recommendations:

/data

filterset,tab

Get bandpass data for KAO flux measurements (Campins) and add to the list. Wavelengths are provided in the Photometry Data sets.

CTIO 8-channel Infrared Spectrometer seems to be missing from the list – there are data in the IR Photometry Catalog that include a “3.291” filter that is not in this list (#141,143,169,171,172,175). Get this information and add additional filter set to list

Filter Set #3 includes 3 visible-wavelength IHW filters – UV, Blue, and Red Continuum – Moved or Remove