## Slide 1: Rosetta Mission Data Review MIRO
S. Milam
4/3/2012

## Slide 2: General Comments
Inconsistency with British and American English between documents and within documents. – RID submitted.
Number of typos – already RID.
Need units in dataset.cat – UT for start/stop time. – RID submitted.
DSB spectrometer – no SB calibration information found. (in Inst.cat SSB performance is presented).
  If SSB spectra, the rejection should also be noted and available.

## Slide 3: Few things
In CTS_LEVEL_3_FORMAT.FMT
  Two columns (S0 and S1) are not defined beyond “spare”.
  Same as Table 9.4-2 in User Manual?
In User’s Manual:
  The channel numbers are defined for all but Band 7 & 8. It is not clear how to derive these if they are variable.

## Slide 4: Data
Using MIRO_READ_DATA: Could not get the program to compile
NASAView: can properly view all data columns, though spectra are embedded.
No access to IDL at the time of data review.