## Slide 1: Ralph/LEISA PLUTOCRUISE PDS Review, January 2014
Jeff Morgenthaler
Planetary Science Institute

## Slide 2: Ralph Basics ralph_ssr.pdf (REUTERETAL2007)
(SOC)

## Slide 3: Ralph/LEISA internals

## Slide 4: Ralph on New Horizons payload_ssr.pdf (WEAVERETAL2007)

## Slide 5: Leisa pushbroom spectrometry payload_ssr.pdf (WEAVERETAL2007)

## Slide 6: LEISA detector
Note overlap in wavelength
Images get flip-flopped when stored

## Slide 7: Data directory structure
Example: 20100623_013964
  Intelligible date
  First 6 of 10 digit MET (a little abstract, but OK)
  10 digit MET good for 317 years
File example:
lsb_0139647719_0x53c_sci_2.fit
Inst; full MET; ApID; eng=raw; sci=cal; SOC ver

## Slide 8: LEISA cube slice of Vega
Wavelength vertical
Sunlight leak
Lots of data taken to characterize sunlight leak

## Slide 9: Vega co-added data cube
Doesn’t look too useful
Doesn’t look like instrument artifacts are taken out of individual slices
This is not according to ICD specifications

## Slide 10: Rating of LEISA PLUTOCRUISE
Completeness
  Stuff is there – aareadme.txt could be improved
Intelligibility
  FITS and ASCII file formats well documented
  Good
Interpretability
  Data not properly flatfielded?
  Could be improved with more notes in SEQ file or a cookbook of how to piece multiple files together (meta-meta data)
Archive quality
  Inflight calibration of LEISA is important
  A bit of an internal brain dump (see Interpretability), so currently tough for a Future Analyst to get into the brain of the LEISA team

## Slide 11: Suggested improvements
AAREADME.TXT:
  Required Reading  Required Reading (see also Details) (cleans up SSR confusion)
  Add seq_leisa_plutocruise.tab to Required Reading list
  nh_trajectory is in document, not catalog (correct place?)
ICD:
  needs an acronym list
  Are APIDs the same as ApIDs?
  Table 7-3 is confusing because ApIDs are used that are not defined (11 and 14)