## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
RO-AR-RID-ALICE-101-CG | Cesare Grava | Alice | Major | ALL | Calibration folder | number of elements in Effective Area file | The effective area file, with 668 elements, does not correspond in size with the number of used columns in the EDR/SCI/LIN files (1024 – 100 = 924, as explained in the EAICD). There are obviously other columns that are unused. | It should be described somewhere (perhaps in the EAICD) the exact range of the effective columns of the illuminated detector. | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-ALICE-102-CG | Cesare Grava | Alice | Major | ALL | Calibration folder | number of elements in Effective Area correction files | The effective area file, with 668 elements, does not correspond in size with the series of “effective area corrections” files, which have 1024 elements each. | It should be described somewhere (perhaps in the EAICD) how these “effective area corrections” are applied.
RO-AR-RID-ALICE-103-CG | Cesare Grava | Alice | Minor | ALL | "holdings" folder (after clicking on “Browse”) | Missing mention of "LIN" data product | in the file aaareadme.txt there is no mention of the third data product of Alice, probably the most used one (LIN): the “linearized”, resampled, calibrated data (CODMAC level 4). | Add the description of the LIN data products after SCI data products.
RO-AR-RID-ALICE-104-CG | Cesare Grava | Alice | Editorial | ALL | docinfo.txt | change name of ALICE_L3_TO_RAYLEIGHS.ASC | In docinfo.txt, the document referred to as ALICE_L3_TO_RAYLEIGHS.ASC is in reality ALICE_DATA_TO_RAYLEIGHS.ASC | Replace in /Document/docinfo.txt ALICE_L3_TO_RAYLEIGHS.ASC with ALICE_DATA_TO_RAYLEIGHS.ASC
RO-AR-RID-ALICE-105-CG | Cesare Grava | Alice | Editorial | ALL | ref.cat | update reference list | three recent references could be added to the list | Stern et al. 2015, Feldman et al. 2015, Feaga et al.2015 can be added to the list

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial