## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-CIVA-1-OR | Ottaviano Ruesch | CIVA | Minor | PHC, PDCS | calib folder, Coeff_geom_ext_stereo | undescribed file | The use of the file Coeff_geom_ext_stereo.lbl/tab is not descibred in the documentation (civa_calibration_desc.asc) | Describe the role and use of the mentioned calibration file.
RO-AR-RID-CIVA-2-OR | Ottaviano Ruesch | CIVA | Minor | FFS | in documents folder: civa_calibration_desc.asc | unclear calibration process | The document civa_calibration_desc.asc describes what is done to FFS level 1 data. Description of what is done to produced level 3a is not clear. | Clarify calibration to produce 3a level. Perhaps simple rewording can solve the issue.
RO-AR-RID-CIVA-3-OR | Ottaviano Ruesch | CIVA | Minor | PHC, PDCS, FFS | in labels | clock start/stop | Identical spacecraft clock for start and stop | explanation
RO-AR-RID-CIVA-4-OR | Ottaviano Ruesch | CIVA | minor | PHC, PDCS, FFS | in labels | temperature values | temperature values of focal planes like "999.9K". | explanation
RO-AR-RID-CIVA-5-OR | Ottaviano Ruesch | CIVA | Minor | PHC, PDCS, FFS | browse folder | blue toned browse images | some browse images are oddly blue-toned | This should be investigated and explained as appropriate.
RO-AR-RID-CIVA-6-OR | Ottaviano Ruesch | CIVA | Minor | PHC, PDCS, FFS | PHC | no CIVAM level 3 data | There should be an explanation in the level 3 PHC data set description as to why none of the level 2 CIVA-M data were calibrated.

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial