## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-ROSINA-101-HF | Heather Franz | ROSINA | Minor | RO-C-ROSINA-3-PRL-V1.0 | data/dfms | Missing data? | There were L2 products for CEM detector, but no L3 products. Is that because no additional calibration was required after L2, or because the L3 products aren't ready yet? | If appropriate, L3 products for CEM should be added to the data set.
RO-AR-RID-ROSINA-102-HF | Heather Franz | ROSINA | Editorial | All | eaicd_ro_v1_8.pdf | Typos in file names | On page 29, the file names given in the table as examples for L3 products appear to be formatted for L2. | Edit the document
RO-AR-RID-ROSINA-103-HF | Heather Franz | ROSINA | Editorial | All | instrument.cat | COPS definition | The descriptions of other sensors include definition of their acronyms, but this is missiong for COPS | Edit the document
RO-AR-RID-ROSINA-104-HF | Heather Franz | ROSINA | Editorial | All | Rosetta user's manual or other documentation | Reference frame definition | I had trouble finding a definition of the Cheops frame. It would be helpful to have this defined in the ROSINA user's manual or other document. | I may have missed it, but if not, edit the document
RO-AR-RID-ROSINA-105-HF | Heather Franz | ROSINA | Editorial | All | eaicd_ro_v1_8.pdf | L2 description | On page 28, it says that L2 data are "corrected (edited) telemetry," but doesn't describe the corrections that have been applied. Is this given elsewhere? | Edit the document
RO-AR-RID-ROSINA-106-HF | Heather Franz | ROSINA | Editorial | RO-C-ROSINA-3-PRL-V1.0 | label/dfms_l3_calinfo.fmt | calinfo type | In the description for object DFMS-CALINFO_TYPE, it seems to be a hanging sentence. i.e., "a value of 0 indicates ..." - what? | If information is missing from this description, it should be added.
RO-AR-RID-PTOLEMY-101-HF | Heather Franz | PTOLEMY | Editorial | RL-C-PTOLEMY-5-FSS-V1.0 | data/compounds.tab | Calibration parameters | Do the total ion counts given represent absolute counts, corrected for differences in ionization cross-section for each compound? I didn't see a description for how that was implemented, and I note that the description in the label file says "apparent" ratio of H2O/CO2, for example. | Add documentation to clarify this.
RO-AR-RID-PTOLEMY-102-HF | Heather Franz | PTOLEMY | Editorial | All | label/ptolemy_sn3.fmt | Op modes definition | The fourth column of the files contains op mode object, but I couldn't readily find where these are tabulated. e.g., it's given as value 255. | Maybe I missed it, but these values should be defined somewhere. The Ptolemy Operations Plan contains written description of modes, but I didn't see number values such as this assigned to them there.
RO-AR-RID-COSAC-101-HF | Heather Franz | COSAC | Minor | RL-C-COSAC-2-FSS-V1.0, RL-C-COSAC-3-FSS-V1.0 | data | Table formats | Formats of the HK & configuration tables are difficult to read upon perusal, although they're easy enough to parse with appropriate software tools after download. | Another format would be easier for users to read (e.g., delimited table with each element in its own row or column). I assume it was done the way it was because there are too many HK parameters to have all of them in a single column-formatted file. (?) If this is true, then the data would presumably need to be split into multiple HK files to allow modified format. Not critical, just a suggestion.

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial