## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-ESA/PSA-101-EG | Eberhard Grün | ESA/PSA | Major | Orbit, attitude and instrument pointing information | Ancillary data: SPICE | ASCII orbit/attitude information | Rosetta results appeal to space researcher, astronomers, cosmo-physiscists, and cosmo-chemists. Only the former are familiar with SPICE software. More accessible information than SPICE kernels is needed for supporting useful interaction to the Rosetta archive. E.g. comparing dust data from GIADA, RPC, and OSIRIS requires that one has a good understanding of the corresponding observation geometries without becoming a SPICE expert. For good reason PDS and RSA requires instrument data in simple ASCII tables. SPICE is a powerful tool kit to get orbit and attitude information for Rosetta and most other space missions. But in order to make use of it expensive software infrastructure (like IDL or Matlab) is needed which is no problem for most science institutions but for independent scientists (like me) it may not be available. Even JPL Horizons web site and the Rosetta 3dtool provide ephemerides and other relevant parameters in various formats including plain ASCII tables. | Orbit/attitude and instrument pointing information in ASCII format: Rosetta position and Instruments (e.g. COSIMA collector) pointing in ECL J2000, CG_SUN_SPIN, and other relevant frames. Like the JPL Horizons web site: http://ssd.jpl.nasa.gov/horizons.cgi
RO-AR-RID-COSIMA-101-EG | Eberhard Grün | COSIMA | Major | COSIMA CATALOG | DATASET.CAT | collector aperture geometry | The description in DATASET.CAT is insufficient to characterize the concentration effect of the collector aperture. For this one needs the width and height (in m) of the dust funnel in relation to the positions of the three collector targets. | Provide detailed collector aperture geometry information.
RO-AR-RID-COSIMA-102-EG | Eberhard Grün | COSIMA | Major | COSIMA | Mass spectra | Mass scale and dead time correction | Interpretation of COSIMA mass spectra requires a precise mass scale and the correction of dead-time effects. The COSIMA Team (Silen et al., and Lehto et al., Geosci. Instrum. Method. Data Syst. Discuss., 2014) is currently developing sophisticated methods to solve both problems. | Provide Mass scale and dead time correction
RO-AR-RID-COSIMA-103-EG | Eberhard Grün | COSIMA | Major | COSIMA | Mass spectra | Composition calibration | COSIMA is a specialized instrument with unique characteristics. For calibration the only two laboratory setups in Göttingen and in Orleans have been used by the COSIMA Team: - spectra of inorganic compounds by Krüger et al., PSS, 2015 and - spectra of solid organic grains by LeRoy et al., PSS, 2015. | It is requested that calibration data are submitted to PSA in a similar format as flight data.
RO-AR-RID-COSIMA-104-EG | Eberhard Grün | COSIMA | Major | COSISCOPE | IM_x.LBL | Completeness of images | Frequently, only partial images are given without notification which sub-images are contained in the FITS file. It is requested that the image label file (IM_x.LBL) contain the appropriate information. | Characterize in image LBL whether complete image or partial image and which parts are shown in the corresponding FITS image.
RO-AR-RID-COSIMA-105-EG | Eberhard Grün | COSIMA | Major | COSIMA | Grain lists and mass spectra | Particle names list | Papers (e.g. Hilchenbach et al., ApJ, 2016 or Langevin et al., Icarus, 2016) that describe COSIMA results like particle compositions or structural properties identify the grains by names like: Estelle, Nyle, Veronique, Stefanie, Yuri, Charlotte, Gabriel, Pavel, Donia, Konstantin and others. These grain names including the collector target, their x, y positions and other properties like type, size, and height should be given in a table. | Provide list of named particles and their collector substrates and coordinates.
RO-AR-RID-COSIMA-106-EG | Eberhard Grün | COSIMA | Editorial | COSISCOPE | GR__.TAB | Test images | Occasionally particle lists refer to test images: CS_2D0_20140721T032536_ GR__.TAB and CS_2D0_20140721T172540_GR__.TAB which are not identified in the header or otherwise. Appropriate identification should be given. | Identify particle lists (GR__.TAB) from test images (patterns) of COSISCOPE.
RO-AR-RID-COSIMA-107-EG | Eberhard Grün | COSIMA | Editorial | COSISCOPE | GR__.TAB | Conditions during image taking | Analysis of grain lists GR__.TAB show significantly varying numbers of particles due to different conditions during image taking (illumination, substrate offsets and rotations). This should be indicated in the data description. | Identify conditions (illumination, substrate offsets and rotations) during image taking.
RO-AR-RID-COSIMA-108-EG | Eberhard Grün | COSIMA | Editorial | Substrate history files | *_SUBSTRATE_HIST.TAB | Consitsent labeling of grain lists | in Substrate history files dust position lists are listed under IMAGE instead of GRAINS | label grain lists consitsently

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial