## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-MIRO-101-BJB | Bryan Butler | MIRO | Minor | All | aareadme.txt files do not always give the proper organization of the data/ directory. | Directory structure | The aareadme.txt files don't show all of the directories in the data/ directory. For instance, in ro-c-miro-3-esc1-67p-v1.0 there is a geometry/ directory under data/ but no mention of that in aareadme.txt. | Make aareadme.txt properly reflect the directories that are present. | Minor - not discussed
RO-AR-RID-MIRO-102-BJB | Bryan Butler | MIRO | Major | All | Level 3 data files | Calibration documentation | The calibration is not sufficiently described to be able to reproduce Level 3 data from Level 2. As an example, given the documentation in the user manual, I think that given a number of source counts D, the antenna temperature of the source is: / 1 D - Dc / 1 1 \\ TAs = ¦ --------------- + ------- ¦ --------------- - --------------- ¦¦ \exp(hv/kTc) - 1 Dw - Dc \exp(hv/kTw) - 1 exp(hv/kTc) - 1// (or the equivalent with Dw as the primary measurement), given warm and cold load counts Dw and Dc, and warm and cold load temperatures Tw and Tc. But there are some caveats given about when to use which load, when the sky is used as a load, and there are two temperatures for each load in the housekeeping data and it’s not specified which is used. And, are the values for Dw and Dc interpolated? Nearest neighbor? | Document the calibration properly. Chapter 9 of the User Manual is a great start, it just seems like the effort to complete that documentation just sort of withered on the vine (it is stated that it is meant to "grow rapidly in later versions" yet it hasn't changed in three years). Fleshing that out to include substantive discussions of each of the bulleted items at the beginning of the chapter would be a good start.
RO-AR-RID-MIRO-103-BJB | Bryan Butler | MIRO | Major | Continuum | data files | Artifacts | There are a lot of artifacts still remaining in the Level 3 data. Their statement is that the calibration should be good to 10%, but some of the jumps in the continuum data, and the baseline offsets/ripples in the spectroscopic data, are larger than that. | Unclear, though a file in the documents/ or catalog/ directory giving a short synopsis of each of the datasets would really help with this. Much of it is due to simply not knowing what is going on during the time of each of the datasets. Note that this would be different than the catalog/...log... files, which contain some detail, but not a good overall view for each dataset. | Team knows the issues and the new calibration routine corrects them | Agree
RO-AR-RID-MIRO-104-BJB | Bryan Butler | MIRO | Major | Continuum, PRL, Level 2 & 3 | data files | Data missing | The continuum data published in Chroukon et al. 2015 seems to be missing in both the Level 2 and Level 3 PRL datasets. There should be a miro_3_mm_20142930000.dat file in the ro-c-miro-3-prl-67p-v1.0/data/continuum directory (and similar for _submm_ and for Level 2 for both) files covering the timerange 2014-10-23 as published, but they are simply not there. There is a corresponding spectroscopic data file, just no continuum files. | These data should be included. | Team is investigating why a week of data was not collected into the delivery | Agree

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial