## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-MUPUS-101-KJW | Kevin Walsh | MUPUS | Minor | RL-C-MUPUS-3-FSS-V1.0 | eaicd_mupus.pdf | Typos in User Manual | Typos in equations in Section 10.1 and 10.2 of the MUPUS User Manual. Specifically, Equations 2 and 3 in Section 10.1, and clarification on T0 between that shown in this section and that found in the calib/ directory files. In Section 10.2 references to Eq 1. should be to Eq. 6. Step 5 in the TM calibration steps should refer to Table 52 rather than 51. I think there is a typo in Step 5 where Uth,i should be Ucal. | Fix typos in Section 10.1 and 10.2 of the MUPUS User Manual. | Not discussed
RO-AR-RID-MUPUS-102-KJW | Kevin Walsh | MUPUS | Major | RL-C-MUPUS-3-FSS-V1.0 | hammer/ | hammer/ information | hammer/ directory only in raw/ directory and not in calibrated. Nothing in calib/ relating to hammer, and nothing in MUPUS manual to help interpret hammer data. | Clarify somewhere the reason for hammer/ exclusively in raw and/or include calibrated data and/or information to calibrate it. |  | Will improve the hammer data

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial