## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-NAVCAM-101-DB | dennis bodewits | navcam | major | all | others | Quantitative interpretation | No documentation is provided that allows for a quantitative assessment of the data. Listed references in the PSA document (user manual, design documents) are not available. Even basic information such as QE and transmission curves are not provided. | provide documentation and/or design specs
RO-AR-RID-NAVCAM-102-DB | dennis bodewits | navcam | major | all | headers and PSA | Reverse calibration and pipeline | It is not specified what processing is done on the data. Is any bias subtracted? What is the bias? Are bad pixels removed? | provide documentation, append headers
RO-AR-RID-NAVCAM-103-DB | dennis bodewits | navcam | major | all | others | Gain | The numeric value of the gain is not given. This value is needed to assess the signal to noise. | append headers
RO-AR-RID-NAVCAM-104-DB | dennis bodewits | navcam | major | all | others | Geometrical correction | The data provided has been geometrically corrected. The documentation does not explain what is done and this is therefore an irreversible calibration. The expected geometrical accuracy is not listed; inspection suggests it is no better than ~1 arscec. | Provide lower level data and documentation
RO-AR-RID-NAVCAM-105-DB | dennis bodewits | navcam | editorial | PSA document | PSA p4 | Saturation specs | The saturation is given as a magnitude; it would be more helpful when given in units of counts (as it is in the headers) | Update PSA
RO-AR-RID-NAVCAM-106-DB | dennis bodewits | navcam | editorial | PSA document | PSA Sec 4.3 | Data Quality flag | data_valid key word is often not-ok. It is unclear to me what this means | Update PSA
RO-AR-RID-NAVCAM-107-DB | dennis bodewits | navcam | editorial | all | headers and PSA | Pointing | RA & DEC are given in header but it is not specified where the boresight is.
RO-AR-RID-NAVCAM-108-DB | dennis bodewits | navcam | minor | RO-C-NAVCAM-2-ESC1-MTP010-V1.0' | others | Coherent noise? | What is the apparent vertical coherent noise? What is its typical value?
RO-AR-RID-NAVCAM-109-DB | dennis bodewits | navcam | minor | all | others | Duplicity | It seems that the same data object is presented in both FITS and | include only IMG in PDS
| dennis bodewits | [5 empty] | (PDS) IMG format, each with its own label, and even though the data
| dennis bodewits | [5 empty] | appear to be identical, the label content is not. Duplication of
| dennis bodewits | [5 empty] | data objects with different labels is misleading and a fundamental
| dennis bodewits | [5 empty] | violation of archiving maintenance principles.
RO-AR-RID-NAVCAM-110-DB | tony farnham | navcam | editorial | all | others | FITS vs IMG | FITS users are not happy that the FITS header keywords are few and
| dennis bodewits | [5 empty] | ill-defined. If it is possible to correct this, please consider
| dennis bodewits | [5 empty] | doing so.
RO-AR-RID-NAVCAM-111-DB | tony farnham | navcam | major | all | others | Lat/Lon | It looks like subspacecraft lat/long is incorrect in labels checked.

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial