## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
General-101-RE | Richard/Emily |  | Minor | see 00.NOTES.txt provided by Richard | */catalog/mission.cat | MISSION_PHASE_NAMES | MISSION_PHASE_NAMES missing in mission.cat | include phase name in mission catalog
General-102-RE | Richard/Emily |  | Major | see 00.NOTES.txt provided by Richard | multiple data sets | Duplicate VOLUME_ID | 2 volumes use the same VOLUME_ID in voldesc.cat (see 4th worksheet duplicate VOLUME_IDs tab in this xls) | provide unique VOLUME_ID
General-103-RE | Richard/Emily |  | Suggestion | All data sets |  | New Keyword / Values | After data sets are accepted, SBN needs to provide all new keyword (and their parameters/constraint) to EN | provide info for EN to update pdsdd.full
General-104-RE | Richard/Emily |  | Major | several data sets | */catalog/rosetta_msn.cat | MISSION_PHASE_NAMES | Found the following: (consert): "REBOUNDS" (mupus): "REBOUNDS" (cosac): "FIRST SCIENCE SEQUENCE", "POST HIBERNATION COMMISSIONING" (rolis): "FIRST SCIENCE SEQUENCE" (romap): "FIRST SCIENCE SEQUENCE" (romap): "FIRST SCIENCE SEQUENCE" | publish complete list of mission phase names, and select the correct one for all instruments' /catalog/mission.cat
ro-c_cal-alice-101-RE | Richard/Emily | ALICE | Editorial | ro-c_cal-alice-4-esc1-v1.0 | document/eaicd_alice_v3.pdf | eaicd_alice_v3 PDF | - p.20: In "DATA_SET_ID = RO-<target>-ALI-<L>-<phase>-<text>-V<#.#>" ALI should be ALICE to reflect this and all previous DATA_SET_IDs - p.20: "<L> is the CODMAC processing level: '2' or '3'". Add '4' | correct document
ro-c-cosima-101-RE | Richard/Emily | COSIMA | Minor | ro-c-cosima-3-v2.0 | data/.../*.tab | Incorrect filler blanks placement | - For the ones with attached labels (i.e. no separate .lbl file), the filler blanks for the header should go after the final END, not before. | place filler blanks correctly
ro-c-cosima-102-RE | Richard/Emily | COSIMA | Editorial | ro-c-cosima-3-v2.0 | document/cosimasis.pdf | cosimasis ODF | - Section 4.3.6.2: the formatting broke down for COSIMA_HEATING_DATA.FMT (change font, not lined up, hard to read, can skip) - Section 4.3.7: No cleaning products or such .fmt files were in this volume. Perhaps there were none for this dataset? - Section 4.3.8: Also no cleaning housekeeping or such .fmt files. - Section 4.3.11: the COSISCOPE_HK.fmt file in this pdf lists 54 columns, but the actual file in label/cosiscope_hk.fmt has 55 | correct document
ro-c-cosima-103-RE | Richard/Emily | COSIMA | Major | ro-c-cosima-3-v2.0 | index/index.lbl | Missing OBJECT column for VOLUME_ID | must have a OBJECT column for VOLUME_ID (ROCOS_1001) or a keyword if unchanging. | add OBJECT column
ro-c-gia-101-RE | Richard/Emily | GIA | Editorial | ro-c-gia-3-esc1-comet-escort-1-v1.0 | document/ro_gia_iapsupa_if_012_i1.pdf | GIA PDF | - p.32: "each GIADA subsystem (GDS, IS, GDS_IS, MBS e MBS_HEAT)," 1. The actual directory data/gdsis does not have the underscore 2. What is "e"? perhaps should be a comma - p.39: sections 3.1.2 (Data Set ID Formation) and 3.4.2 (Data Set Naming) may be duplicate, delete or merge… - p.39: "DATA_SET_NAME = ROSETTA-ORBITER-CAL-GIADA-2-GRND-FS-V1.1" catalog/dataset.cat has only 1 hyphen: DATA_SET_NAME = "ROSETTA-ORBITER 67P GIADA 3 ESC1 COMET ESCORT 1 V1.0" this must be fixed to be consistent between pdf and .cat - p.45: For DATA_QUALITY_ID, the values seem to be 1 or 3, not -1,0,1,... Suggest pointing to section 3.3.1 where 1 and 3 are defined. - p.49: Suggest listing for each Data Product the columns of data in the actual table along with their meanings and parameters. all other instruments include tables here… it’s just a consistency issue. - p.49: "4.3.11 Data Product 'MB HEAT'". Is this the same as MBS HEAT? Suggest converging on one of those two. | see description
ro-c-gia-102-RE | Richard/Emily | GIA | Minor | ro-c-gia-3-esc1-comet-escort-1-v1.0 | index/index.lbl | Missing OBJECT column for VOLUME_ID | must have a column for VOLUME_ID (ROGIA_1014) or a keyword if unchanging | add OBJECT column
ro-c-midas-101-RE | Richard/Emily | MIDAS | Minor | ro-c-midas-3-esc1-samples-v1.0 | document/code | Need .lbl and proper directory name | These files need a .lbl in the same directory (or above) to point to them. The code subdirectory can be renamed to software at a high level. Only this data set has it.. These should be in software/ instead of document/, though p.31 of document/mid_eicd.pdf says it won't. any explanation? | move document/code to /software and add .lbl
ro-c-midas-102-RE | Richard/Emily | MIDAS | Editorial |  | document/mid_eicd.pdf | MIDAS PDF | - p.23, bottom: suggest alphabetizing the list of {data type} - p.24, FSC/possiblevalues: instead of "001..999", digit 3 seems to be hex (e.g. 00..99, 0-F) - p.24, LIN/possiblevalues: instead of "001..999", digit 3 seems to be hex - p.24, IMG/possiblevalues: "S1" is not listed as a value in extra table IMG - DAQ channel value (img_1504123_1507000_009_s1.img) - should document missing value - p.36, suggest alphabetizing table 4.2.5 - p.86, the COLUMNs after START_BYTE 41 do not match the actual file - p.110, START_BYTE = 92 and subsequent START_BYTEs are low/off by 1 — EL: 92 should have been 93 - p.113, START_BYTEs are off, as are two of the BYTES= | see description
ro-c-miro-101-RE | Richard/Emily | MIRO | Editorial | .ro-c-miro-3-prl-67p-v1.0 | document/ro_mir_if_0001.pdf | MIRO PDF | - p.23, section 3.4.3.5: checksum.* isn't listed, which is ok, but index/ has only index.*, but do not have the rest such as specindx.* and contindx.*, etc — probably don’t matter - want to make sure the actual directory is not missing anything important - p.25 INSTRUMENT_HOST_NAME = "ROSETTA ORBITER" should be "ROSETTA-ORBITER" - p.30+, Appendix 2: the values to FORMAT, especially for floats, need "" | see description
ro-c-navcam-101-RE | Richard/Emily | NAVCAM | Major | ro-c-navcam-2-esc1-mtp010-v1.0 | browse/.../*.lbl | Illegal ENCODING_TYPE value | - using OBJECT = BROWSE_IMAGE requires ENCODING_TYPE = JPEG, which is bad since others may think that is a valid type for data. can not add JPEG as a legal value to “ENCODING_TYPE” because in real image, they would think JPEG is a legal value. Better, and more common: ^JPG_DOCUMENT = "ROS_CAM1_20141122T041935.LBL" OBJECT = JPG_DOCUMENT DOCUMENT_NAME = "..." DOCUMENT_TOPIC_TYPE = "BROWSE IMAGE" INTERCHANGE_FORMAT = "BINARY" DOCUMENT_FORMAT = "JPG" PUBLICATION_DATE = 2015-02-12 FILES = 1 DESCRIPTION = "..." END_OBJECT | see description
ro-c-osinac-101-RE | Richard/Emily | OSIRIS | Minor | ro-c-osinac-2-prl-67pchuryumov-m01-v1.1 | calib/distorsion/*.img, calib/flatfields/*.img | Incorrect value | PDS objects always begin with 1, so these are wrong: FIRST_LINE = 0 FIRST_LINE_SAMPLE = 0 | see description
ro-c-osinac-102-RE | Richard/Emily | OSIRIS | Minor | ro-c-osinac-2-prl-67pchuryumov-m01-v1.1 | calib/flatfields/*.img | Cap FILLER_NAME values | FILTER_NAME's values should be all caps, i.e. fix these: "CS_Empty" "Empty_CN" "Empty_NH2" "Empty_Na" "Empty_OI" "Empty_Red" "Empty_UV375" "Empty_VIS610" "FFP-UV_Far-UV" "FFP-UV_Near-UV" "FFP-Vis_Blue" "FFP-Vis_FFP-IR" "FFP-Vis_Green" "FFP-Vis_Hydra" "FFP-Vis_Near-UV" "FFP-Vis_Red" "Fe2O3_FFP-IR" "Green_Empty" "IR_FFP-IR" "NFP-Vis_Blue" "NFP-Vis_Far-UV" "NFP-Vis_Green" "NFP-Vis_Hydra" "NFP-Vis_Near-UV" "NFP-Vis_Orange" "NFP-Vis_Red" "NH_Empty" "Near-IR_FFP-IR" "Neutral_Blue" "Neutral_Green" "Neutral_Hydra" "Neutral_Near-UV" "Neutral_Orange" "Neutral_Red" "OH-WAC_Empty" "Ortho_FFP-IR" "Ortho_Red" "UV245_Empty" "UV295_Empty" "UV325_Empty" | see description
ro-c-osinac-103-RE | Richard/Emily | OSIRIS | Minor | ro-c-osinac-2-prl-67pchuryumov-m01-v1.1 | calib/flatfields/*.img | Exceed 78 chars | The following line has many extra spaces at the end and thus exceeds 78 characters. DATA_SET_ID = "RO-C-OSINAC-2-PRL-67PCHURYUMOV-M01-V1.1" | remove extras
ro-c-osinac-104-RE | Richard/Emily | OSIRIS | Minor | ro-c-osinac-2-prl-67pchuryumov-m01-v1.1 | calib/flatfields/*.img | Add double quotes | Both of these keywords are not numeric, so their values need “” quotes, i.e. PROCESSING_LEVEL_ID = 1 FILTER_NUMBER = 22 should be PROCESSING_LEVEL_ID = "1" FILTER_NUMBER = "22" | see description
ro-c-osinac-105-RE | Richard/Emily | OSIRIS | Minor | ro-c-osinac-2-prl-67pchuryumov-m01-v1.1 | calib/flatfields/*.img | Duplicate keyword assignement | This line is repeated ROSETTA:LOWPOWER_MODE_FLAG = FALSE Perhaps the second one should be ROSETTA:DUAL_EXPOSURE_FLAG cannot have duplicate keyword assigned more than once (either delete or have a correct one) | see description
ro-c-osinac-106-RE | Richard/Emily | OSIRIS | Minor | ro-c-osinac-2-prl-67pchuryumov-m01-v1.1 | calib/flatfields/*.img | Cap keyword values | Except for descriptive keywords, values should be all caps, i.e. fix these: SOFTWARE_NAME = "ositrap.exe" FILTER_NAME = "FFP-Vis_Orange" PRODUCER_INSTITUTION_NAME = "Max Planck Institute for Solar System Research"Can the last be replaced by this existing value: PRODUCER_INSTITUTION_NAME = "MAX PLANCK INSTITUT FUER SONNENSYSTEMFORSCHUNG" (since this value already exist) | see description
ro-c-osinac-107-RE | Richard/Emily | OSIRIS | Minor | ro-c-osinac-2-prl-67pchuryumov-m01-v1.1 | data/2014_03/n20140320t224505442id20f22.img | Illegal keyword value | FIRST_LINE_SAMPLE = -47 is below the minimum value of 1 | provide correct value
ro-c-osinac-108-RE | Richard/Emily | OSIRIS | Minor | ro-c-osinac-2-prl-67pchuryumov-m01-v1.1 | document/*/*.lbl | Consider using existing values | This is a legal but new value to add by EN DOCUMENT_TOPIC_TYPE = "DATA PRODUCT DESCRIPTION" If possible, please use one of the existing values, e.g. "DATA SET DESCRIPTION", "DATA SET DESCRIPTION, DERIVATION TECHNIQUE, AND ANALYSIS", "DATA SET DESCRIPTION, DERIVATION, AND INTERPRETATIONS", "INSTRUMENT AND DATA SET DESCRIPTION", many more ... | If possible, use existing keyword values
ro-c-osinac-109-RE | Richard/Emily | OSIRIS | Major | ro-c-osinac-2-prl-67pchuryumov-m01-v1.1 | document/*/figures/*.lbl | Illegal ENCODING_TYPE value | using OBJECT = BROWSE_IMAGE requires ENCODING_TYPE = JPEG, which is bad since others may think that is a valid type for data. Better, and more common: ^JPG_DOCUMENT = "FIGURE1.JPG" OBJECT = JPG_DOCUMENT DOCUMENT_NAME = "..." DOCUMENT_TOPIC_TYPE = "DATA PRODUCT DESCRIPTION" or whatever ../*.lbl uses INTERCHANGE_FORMAT = "BINARY" DOCUMENT_FORMAT = "JPG" PUBLICATION_DATE = 2015-02-12 FILES = 1 DESCRIPTION = "..." END_OBJECT = JPG_DOCUMENT | see description
ro-c-osinac-110-RE | Richard/Emily | OSIRIS | Editorial | ro-c-osinac-2-prl-67pchuryumov-m01-v1.1 | document/sis/osiris_sis.pdf | OSIRIS PDF | p.64, should Table 8.12 also include ROSETTA:BLADE1_FIT_SLOPE ROSETTA:BLADE1_FIT_OFFSET ROSETTA:BLADE1_FIT_STDDEV ROSETTA:BLADE1_FIT_START ROSETTA:BLADE2_FIT_SLOPE ROSETTA:BLADE2_FIT_OFFSET ROSETTA:BLADE2_FIT_STDDEV ROSETTA:BLADE2_FIT_START - p.65, the note in red ("Not PDS compliant") — EL: should this added for all SR_xxxx , better to add _PARAMETERS for all… - p.82: the SR_DATA_CONTENT and SR_PROCESSING_FLAGS groups were not defined. There should be 8.20 and 8.21 section for the above groups. | see description
Richard/Emily
ro-c-rosina-101-RE | Richard/Emily | ROSINA | Editorial | ro-c-rosina-2-prl-v1.0 | document/eaicd_ro_v1_8.pdf | ROSINA PDF | p.27: The document names match the file names except for "AF5_ROSINA_MODE_CHANGES", whose file name is af5_ro_mode_changes.pdf - p.28: Add RO-C-ROSINA-2-PRL-V1.0 to the list data set IDs - p.31: Ignorable? This review has no DFMS/FA files in the volume - p.35: Ignorable? Sec 3.4.3.5: DFMS_FA_DATA.FMT was not provided in the review volume - p.55: RTOF_DATA.FMT's BYTES = 3 should be 6, which affects later START_BYTEs | see description
ro-c-rosina-102-RE | Richard/Emily | ROSINA | Minor | ro-c-rosina-101-RE | index/index.lbl | Consider using existing keyword | This is an unknown keyword REVISION_ID = "0000" | use LABEL_VERSION_ID instead
ro-c-rpcica-101-RE | Richard/Emily | RPCICA | Minor | ro-c-rpcica-2-esc1-raw-v1.0 | calib/* | Older versions | There seem to be three files, each with 6 versions, but it's hard to tell what the different versions mean. For example, % diff calib/ica_el_table_v02.lbl calib/ica_el_table_v06.lbl 6,7c6,7 < FILE_NAME = "ICA_EL_TABLE_V02.LBL" < ^TABLE = "ICA_EL_TABLE_V02.TAB" --- > FILE_NAME = "ICA_EL_TABLE_V06.LBL" > ^TABLE = "ICA_EL_TABLE_V06.TAB" 10c10 < PRODUCT_ID = "ICA_EL_TABLE_V02.LBL" --- > PRODUCT_ID = "ICA_EL_TABLE_V06.LBL" 25c25 < NAME = "ICA ELEVATION ANGLE V02" --- > NAME = "ICA ELEVATION ANGLE V06" If only the last version should be used, suggest not delivering the others. No date in them.. Are the old versions useful?? | If not older versions not useful, then remove from volume
ro-c-rpcica-102-RE | Richard/Emily | RPCICA | Editorial | ro-c-rpcica-2-esc1-raw-v1.0 | document/ica_eaicd/ica_eaicd.pdf | ica_eaicd PDF | p.19: The DATA_SET_ID is "RO-C-RPCICA-2-ESC1-RAW-V1.0", but the SIS says RO-E/M/A/C-RPCICA-x-description-Vn.m document template does not match actual … so the target code is wrong, and description includes the mission phase. - p.23: DATA_SET_ID again doesn't match, and DATA_SET_NAME similarly misses | see description
ro-c-rpcica-103-RE | Richard/Emily | RPCICA | Minor | ro-c-rpcica-2-esc1-raw-v1.0 | index/index.lbl | Missing VOLUME_ID column | must have a column for VOLUME_ID (ROICA_1010) or a keyword if unchanging | Add column
.ro-c-rpcies-101-RE | Richard/Emily | RPCIES | Editorial | ro-c-rpcies-2-esc1-v1.0 | document/ies_eaicd/10991-ies-eaicd-01.pdf | RPCIES PDF | pages7,11: show subdirectory EDITED, which was not in the reviewed volume - page7: "RPCIESYYMMDD_nnn_VV.EXT" should be RPCIESYYYYDDD_nnn_VV.EXT - page8: suggest adding "67P" to the list of potential TARGET_NAMEs. - page9: suggest adding CALIB/ to Table 2 | see description
.ro-c-rpcies-102-RE | Richard/Emily | RPCIES | Major | ro-c-rpcies-2-esc1-v1.0 | index/index.lbl | Missing VOLUME_ID column | must have a column for VOLUME_ID (ROIES_1012) or a keyword if unchanging | Add column
ro-c-rpclap-101-RE | Richard/Emily | RPCLAP | Suggestion | ro-c-rpclap-3-prl-calib-v1.0 | calib/rpclap*frq*.txt | Suggestion | Is it possible/feasible to convert each to a spreadsheet or a fixed-width table, instead of having the .lbl treat it as a lump of text with no column definitions? | consider
ro-c-rpclap-102-RE | Richard/Emily | RPCLAP | Editorial | ro-c-rpclap-3-prl-calib-v1.0 | document/ro-irfu-lap-eaicd-1_9_2.pdf |  | sec 3.1.2: for TARGET_ID, list "C" as the value for comet - sec 3.1.4: the table is hard to read. Maybe make it a true table with a border and 3 columns: code, meaning, values - sec 3.4.3.5: the row for the EAICD mentions a .DOC version, which was not in the volume or pointed to by the .lbl, i.e. probably don't mention the .DOC - sec 4.3.1.5: alphabetize the table. - sec 4.3.1.5: the table has "LAP_P1_E-FIELD_FIX_DURATION" and "LAP_P2_E-FIELD_FIX_DURATION", but the corresponding keywords in the labels have no '-', and nowhere else does the table use '-' - sec 4.3.1.5: The following keywords were not found in ro-c-rpclap-3-prl-calib-v1.0, though perhaps others will: LAP_P1_ADC16_UNI_BI_POLAR LAP_P2_ADC16_UNI_BI_POLAR LAP_LDL_ACTIVE LAP_LDL_MODE LAP_P2_ADC16_DIG_FILT_CUTOFF LAP_P1_ADC16_DIG_FILT_CUTOFF LAP_P2_ADC16_DIG_FILT_STATUS LAP_P1_ADC16_DIG_FILT_STATUS LAP_P1P2_ADC20_RECORD_LENGTH LAP_TRANSMITTER_FREQUENCY LAP_TRANSMITTER_AMPLITUDE LAP_TRANSMITTER_STATUS | see description
ro-c-rpclap-103-RE | Richard/Emily | RPCLAP | Major | ro-c-rpclap-3-prl-calib-v1.0 | index/index.lbl | Missing VOLUME_ID column | must have a column for VOLUME_ID (ROLAP_2100) or a keyword if unchanging | Add column
ro-ss-rpcmag-101-RE | Richard/Emily | RCPMAG | Editorial | ro-ss-rpcmag-4-prl-resampled-v5.0 | document/ies_eaicd/10991-ies-eaicd-01.pdf | ro_igep_tr0009_eaicd PDF | sec3.1.2: suggest adding "PRL" to list of Mission Phase abbreviations - sec3.4.2: reference to 3.1.3 should be 3.1.2. Add "PRL" here as well. - sec3.4.3.2 should be updated for this volume's files in calib/ (missing some) | see description
ro-ss-rpcmag-102-RE | Richard/Emily | RCPMAG | Major | ro-ss-rpcmag-4-prl-resampled-v5.0 | index/index.lbl | Missing VOLUME_ID column | must have a column for VOLUME_ID (ROMAG_1039) or a keyword if unchanging | Add column
ro-ss-rpcmag-103-RE | Richard/Emily | RCPMAG | Suggestion | ro-ss-rpcmag-4-prl-resampled-v5.0 | calib/* | Suggestion | Every file is a TEXT object, which means their data has no format. Suggest converting these to TABLE objects | consider
099.ro-c-rpcmip-101-RE | Richard/Emily | RCPMIP | Editorial | ro-c-rpcmip-3-esc1-v1.0 | document/rpc-mid_eaicd.pdf | rpc-mid_eaicd PDF | sec3.4.3.9: suggest updating to include logbook and ug (user's guide) - sec4.2: suggest updating to include phase ESC1 | see description
099.ro-c-rpcmip-102-RE | Richard/Emily | RCPMIP | Major | ro-c-rpcmip-3-esc1-v1.0 | index/index.lbl | Worng VOLUME_ID | VOLUME_ID = "ROMIP_1006" should be "ROMIP_1017" | Replace with correct ID
ro-x-rsi-101-RE | Richard/Emily | RSI | Major | ro-x-rsi-1_2_3-prl-1186-v1.0 | browse/.../*.lbl | Illegal ENCODING_TYPE value | using OBJECT = BROWSE_IMAGE requires ENCODING_TYPE = JPEG, which is bad since others may think that is a valid type for data. Better, and more common: ^JPG_DOCUMENT = "R32ICL1L02_B1X_141031710_00.JPG" OBJECT = JPG_DOCUMENT DOCUMENT_NAME = "..." DOCUMENT_TOPIC_TYPE = "BROWSE IMAGE" INTERCHANGE_FORMAT = "BINARY" DOCUMENT_FORMAT = "JPG" PUBLICATION_DATE = 2015-02-12 FILES = 1 DESCRIPTION = "..." END_OBJECT = JPG_DOCUMENT | provide correct value
ro-x-rsi-102-RE | Richard/Emily | RSI | Minor | ro-x-rsi-1_2_3-prl-1186-v1.0 | calib/.../dcl/r32icl1l1b_c1x_141021637_00.lbl (and other *l1b*.lbl) | Incorrect BYTE counts | RECORD_BYTES = 140 should be 141 - ROW_BYTES = 140 should be 141 | replace with correct count
ro-x-rsi-103-RE | Richard/Emily | RSI | Suggestion | ro-x-rsi-1_2_3-prl-1186-v1.0 | data/level1a/.../*.lbl, calib/.../*l1a*.lbl | Suggestion | Instead of FILE objects with RECORD_TYPE = UNDEFINED (which PDS tools can't use), can these have TABLE objects describe the .raw data? | Consider
ro-x-rsi-104-RE | Richard/Emily | RSI | Minor | ro-x-rsi-1_2_3-prl-1186-v1.0 | data/level1b/.../dp1/r32icl1l1b_d1x_141032133_01.lbl (perhaps .../dp*/*.lbl?) |  | "RECORD_BYTES = 140 should be 141 - ROW_BYTES = 140 should be 141" | replace with correct count
ro-x-rsi-105-RE | Richard/Emily | RSI | Editorial | ro-x-rsi-1_2_3-prl-1186-v1.0 | document/ros_rsi_igm_is_3079.pdf | ros_rsi_igm_is_3079 PDF | p.81: RVM2 should be PRL? dataset.cat's timestamp matches, and DATA_SET_ID uses "PRL" instead of "RVM2" - p.83: add "PRELANDING" (used in DATA_SET_ID) to cell with mission phases | see description
ro-x-rsi-106-RE | Richard/Emily | RSI | Major | ro-x-rsi-1_2_3-prl-1186-v1.0 | index/index.lbl | Worng VOLUME_ID | VOLUME_ID = MEXMRS_0101 should be RORSI_0013 | Replace with correct ID
ro-c-virtis-101-RE | Richard/Emily | VIRTIS | Minor | ro-c-virtis-3-prl-mtp009-v1.0 | calib/deadpixelmap.lb | Inconsistent DATA_SET_NAME | DATA_SET_NAME = "ROSETTA-ORBITER 67P VIRTIS 3 PRELANDING MTP006 V1.0" does not match catalog/dataset.cat's (near the end) DATA_SET_NAME = "ROSETTA-ORBITER 67P VIRTIS 3 PRELANDING MTP009 V1.0" | correct
ro-c-virtis-102-RE | Richard/Emily | VIRTIS | Minor | ro-c-virtis-3-prl-mtp009-v1.0 | calib/virtis_m_*_resp_10_v1.lbl | Incorrect BYTE count | This is not required, but keyword INSTRUMENT_ID or _NAME would be useful. - Please change RECORD_BYTES = 1 FILE_RECORDS = 864 to RECORD_BYTES = 3456 FILE_RECORDS = 256 | Replace with correct count
ro-c-virtis-103-RE | Richard/Emily | VIRTIS | Minor | ro-c-virtis-3-prl-mtp009-v1.0 | data/.../* | Incorrect value and format | The values are illegal: DECLINATION = -999.999 RIGHT_ASCENSION = -999.999 FYI, "N/A", "UNK", and "NULL" are legal values for any type. - PROCESSING_LEVEL_ID's value needs quotes, i.e. change PROCESSING_LEVEL_ID = 2 (or 3) to PROCESSING_LEVEL_ID = "2" (or "3") - INSTRUMENT_MODE_ID's value needs quotes - DATA_QUALITY_ID's value needs quotes - Some files (the IR?) have TELEMETRY_SOURCE_ID = VIRTIS_EGSE_3 while the rest have TELEMETRY_SOURCE_ID = VIRTIS_EGSE3 If that's meant to be the same source, please always use one. - These values are legal, but meaningful values would be preferable COORDINATE_SYSTEM_ID = "-1000012000" COORDINATE_SYSTEM_NAME = "67P/C-G_CK" - If these are meant to be Standard ISIS Qubes, these required keywords are missing: BAND_BIN_CENTER, BAND_BIN_UNIT, BAND_BIN_ORIGINAL_BAND | see description
ro-c-virtis-104-RE | Richard/Emily | VIRTIS | Minor | ro-c-virtis-3-prl-mtp009-v1.0 | data/*/cal/.../* | Incorrect value and format | The value is illegal. It should be PC_REAL or IEEE_REAL CORE_ITEM_TYPE = REAL LINE_SUFFIX_ITEM_TYPE = REAL is also an illegal value - Since the type of CORE_ITEM is REAL (presumably IEEE_REAL) these CORE_VALID_MINIMUM = -999 CORE_NULL = -1004 CORE_LOW_REPR_SATURATION = -1003 CORE_LOW_INSTR_SATURATION = -1002 CORE_HIGH_REPR_SATURATION = -1001 CORE_HIGH_INSTR_SATURATION = -1000 should be real values, i.e. -999.0, -1004.0, ... Please inform EN what values will be used so that EN can modify the data dictionary. - Values, except for descriptive keywords, should be upper case. CORE_UNIT = "W/m**2/sr/micron" It would be mildly preferable to use the existing value CORE_UNIT = "WATT*M**-2*SR**-1*UM**-1" - These keywords are unknwon (i.e. illegal) FRAME_PARAMETER_UNIT INSTRUMENT_TEMPERATURE_UNIT The DAWN mission added keywords DAWN:FRAME_PARAMETER_UNIT and DAWN:INSTRUMENT_TEMPERATURE_UNIT suggest to use ROSETTA:… | see description
ro-c-virtis-105-RE | Richard/Emily | VIRTIS | Major | ro-c-virtis-3-prl-mtp009-v1.0 | data/*/cal/virtis_h/.../* | SUFFIX_BYTES should = 4 | *** This is illegal: *** SUFFIX_BYTES = 2 PDS Standards, Section A.23.1, says SUFFIX_BYTES for a QUBE is always 4 This does not match the characterization of SCET in the ICD: SUFFIX_ITEMS = (3,0,0) BAND_SUFFIX_NAME = "SCET" BAND_SUFFIX_UNIT = DIMENSIONLESS BAND_SUFFIX_ITEM_BYTES = 2 BAND_SUFFIX_ITEM_TYPE = MSB_UNSIGNED_INTEGER BAND_SUFFIX_BASE = 0.0 BAND_SUFFIX_MULTIPLIER = 1.0 for ITEMS = 3, the BAND_SUFFIX_NAME and everything else must be correspond to have 3 values this would be more accurate SUFFIX_ITEMS = (3,0,0) BAND_SUFFIX_NAME = (SCET_HIGH_WORD, SCET_LOW_WORD, SCET_FRACTION) BAND_SUFFIX_UNIT = (DIMENSIONLESS, DIMENSIONLESS, DIMENSIONLESS) BAND_SUFFIX_ITEM_BYTES = (2,2,2) BAND_SUFFIX_ITEM_TYPE = (MSB_UNSIGNED_INTEGER, MSB_UNSIGNED_INTEGER, MSB_UNSIGNED_INTEGER) BAND_SUFFIX_BASE = (0.0, 0.0, 0.0) BAND_SUFFIX_MULTIPLIER = (1.0, 1.0, 1.0) | provide correct byte count
ro-c-virtis-106-RE | Richard/Emily | VIRTIS | Minor | ro-c-virtis-3-prl-mtp009-v1.0 | data/*/cal/virtis_m*/.../* | Illegal keyword and value | This keyword is unknwon (i.e. illegal) SCAN_PARAMETER_UNIT The DAWN mission added keyword DAWN:SCAN_PARAMETER_UNIT (just as an example) - SCAN_PARAMETER's minimum is 0, so the following is illegal: SCAN_PARAMETER = (-0.00217,33.0437,0.25817,1) The DAWN mission added keyword DAWN:SCAN_PARAMETER for this reason | see description
ro-c-virtis-107-RE | Richard/Emily | VIRTIS | Major | ro-c-virtis-3-prl-mtp009-v1.0 | virtis_h | Incorrect side plane value | the sideplane of SCETs for BAND was 3*2 bytes. How is this 1*2? AXIS_NAME = (BAND,SAMPLE,LINE) SUFFIX_BYTES = 4 SUFFIX_ITEMS = (1,0,3) BAND_SUFFIX_NAME = "SCET" BAND_SUFFIX_ITEM_BYTES = 2 The 4 bytes after row 1 of data in the first file is 0x00001638 The 4 bytes after row 2 of data in the first file is 0xffffadbe The 4 bytes after row 3 of data in the first file is 0x00002b92 The 4 bytes after row 4 of data in the first file is 0x00000000 How does that map into an SCET? suggest that the real value should be 0x1638adbe2b92 6 bytes on the same band e.g., make BAND_SUFFIX_ITEM_BYTES = (4,4,4) then the first band suffix value = 0x00001638 0xffffadbe 0x00002b92 BAND_SUFFIX_NAME = (SCET_HIGH_WORD, SCET_LOW_WORD, SCET_FRACTION) SUFFIX_ITEMS = (3,0,3) | see description
ro-c-virtis-108-RE | Richard/Emily | VIRTIS | Suggestion | ro-c-virtis-3-prl-mtp009-v1.0 | data/*/cal/.../*.cal | Suggestion | This is legal but should be more descriptive: INST_CMPRS_NAME = REVERSIBLE For examples, the current values in the dictionary are: "BLOCK TRUNCATION CODING (BCT)", "DISCRETE COSINE TRANSFORM (DCT)", ... | Consider
ro-c-virtis-109-RE | Richard/Emily | VIRTIS | Minor | ro-c-virtis-3-prl-mtp009-v1.0 | data/*/geo/.../* | Unknown keyword | CORE_DESC is an unknown keyword
ro-c-virtis-110-RE | Richard/Emily | VIRTIS | Minor | ro-c-virtis-3-prl-mtp009-v1.0 | data/stp028 | Have blank directory | In case this is accidental, this directory is not populated like the rest, including a blank sudirectory | double check
ro-c-virtis-111-RE | Richard/Emily | VIRTIS | Editorial | ro-c-virtis-3-prl-mtp009-v1.0 | document/ro_virtis_eaicd.pdf | ro_virtis_eaicd PDF | section 3.4.3.12: the directory structure in the review does not match the structure in this document. - section 4.2.1.5: "It should be noted that the value of the keyword SUFFIX_BYTES is 2 instead of 4, as it would be required for compatibility with ISIS software: we did not follow this convention to avoid a large wasting of space." As mentioned above, this must be 4. The waste of space is maybe 1%, e.g. the width of the cube in the first file (t1_00372813791.cal) would change from 3456*4 + 3*2 to 3456*4 + 3*4 Maybe the Level 2 data is different, in case I forget. - Appendix C: The rows with DATA_SET_ID and _NAME do not contain the values in this review. | see description
ro-c-virtis-112-RE | Richard/Emily | VIRTIS | Minor | ro-c-virtis-3-prl-mtp009-v1.0 | geometry/geominfo.txt | Unknown keyword and incorrect format | RELEASE_ID = 0001 needs quotes around the value, i.e. RELEASE_ID = "0001" - This is an unknown keyword REVISION_ID = 0000 Perhaps use LABEL_VERSION_ID instead | see description
ro-c-virtis-113-RE | Richard/Emily | VIRTIS | Major | ro-c-virtis-3-prl-mtp009-v1.0 | index/index.* | Missing index.* | These files are required but missing | include required files
rl-c-civa-101-RE | Richard/Emily | CIVA | Major | rl-c-civa-2-fss-v1.0 | index/index.lbl | Worng VOLUME_ID | VOLUME_ID = "RLCIV2_1005" should be "RLCIV2_2005" | replace with correct ID
rl-c-consert-101-RE | Richard/Emily | CONSERT | Editorial | rl-c-consert-2-fss-v1.0 | document/eaicd_consert.pdf | consert PDF | sec3.1.2, sec4.2: a slash separates RO and RL, i.e. change DATA_SET_ID = "RO-RL-CAL-CONSERT-2-CVP-V1.0" to DATA_SET_ID = "RO/RL-CAL-CONSERT-2-CVP-V1.0" - sec3.1.4: for "ext = extension of file", add possible value DAT | see description
rl-c-cosac-101-RE | Richard/Emily | COSAC | Minor | rl-c-cosac-3-rbd-v1.0 | data/cos_fmss3_141112160337_0000.lbl | Incorrect value | lines 104,112: 1059 should be 1058 | replace
rl-c-cosac-102-RE | Richard/Emily | COSAC | Editorial | rl-c-cosac-3-rbd-v1.0 | document/eaicd_cosac.pdf | eaicd_cosac PDF | ssec3.1.4: list with "CONF", "HKID", "MSID" should also have "HBID" - sec3.4.3.7: the table is missing COSAC_CALIBRATED_HK.FMT - sec3.4.3.8: add COSAC_LOGBOOK_001.*? | see description
rl-c-mupus-101-RE | Richard/Emily | MUPUS | Editorial | rl-c-mupus-2-rbd-v1.0 | document/eaicd_mupus.pdf | eaicd_mupus PDF | sec3.4.3.7: add RL_MUPUS_LOGBOOK.*? | see description
rl-c-ptolemy-101-RE | Richard/Emily | PTOLEMY | Suggestion | rl-c-ptolemy-3-fss-v1.0 | calib/* | Convert to TABLE | Every file is a TEXT object, which means their data has no format. Suggest converting these to TABLE objects. | consider
rl-c-ptolemy-102-RE | Richard/Emily | PTOLEMY | Editorial | rl-c-ptolemy-3-fss-v1.0 | document/eaicd_ptolemy.pdf | eaicd_ptolemy PDF | sec4.3.2.4.4 needs updating, e.g. COLUMNS = 3 should be 4 - sec4.3.3.3.2 needs updating, e.g. COLUMNS = 44 should be 46 - sec4.3.3.3.4 needs updating, since SPECTRUM_HEADER_TABLE no longer exists and seems to have been folded into SPECTRUM_S3_TABLE | see description
rl-c-ptolemy-103-RE | Richard/Emily | PTOLEMY | Suggestion | rl-c-ptolemy-5-fss-v1.0 | calib/* | Convert to TABLE | Every file is a TEXT object, which means their data has no format. Suggest converting these to TABLE objects | consider
rl-c-ptolemy-104-RE | Richard/Emily | PTOLEMY | Question | rl-c-ptolemy-5-fss-v1.0 | data/ms_abydos6.lbl | Question | This is not a bug, but please confirm that "UNK" is intended. The other labels all have real values. START_TIME = "UNK" STOP_TIME = "UNK" SPACECRAFT_CLOCK_START_COUNT = "UNK" SPACECRAFT_CLOCK_STOP_COUNT = "UNK" | double check
rl-c-ptolemy-105-RE | Richard/Emily | PTOLEMY | Minor | rl-c-ptolemy-5-fss-v1.0 | data/ms_agilkia.lbl | Incorrect ROWS avalue | Line 57: ROWS = 142 should be 127 | correct value
rl-c-ptolemy-106-RE | Richard/Emily | PTOLEMY | Editorial |  | document/eaicd_ptolemy.pdf | eaicd_ptolemy PDF | sec4.3.2.4.4 needs updating, e.g. COLUMNS = 3 should be 4 - sec4.3.3.3.2 needs updating, e.g. COLUMNS = 44 should be 46 - sec4.3.3.3.4 needs updating, since SPECTRUM_HEADER_TABLE no longer exists and seems to have been folded into SPECTRUM_S3_TABLE | see description
rl-c-rolis-101-RE | Richard/Emily | ROLIS | Minor | rl-c-rolis-2-fss-v1.0 | document/docinfo.txt | Duplicate PDS_VERSION_ID & RECORD_TYPE | The lines with PDS_VERSION_ID and RECORD_TYPE are duplicated | remove duplicate
rl-c-romap-101-RE | Richard/Emily | ROMAP | Editorial | rl-c-romap-5-fss-mag-v1.0 | document/eaicd_romap.pdf | eaicd_romap PDF | sec3.4.3.9: perhaps add logbook to list of files in document/ - sec4.3.6.4: needs updating, e.g. ROW_BYTES = 165 should be 168 | see description
rl-c-romap-102-RE | Richard/Emily | ROMAP | Question | rl-c-romap-3-fss-spm-v1.0 | data/sc/spm_fs3_141112173046_par.lbl, spm_fs3_141112173213_raw.lbl | Question | Is it possible that PRODUCT_IDs might collide, which would seem to happen if a raw mode file and a parameter mode file are created for the same time (is that possible?) since the PRODUCT_ID formation rule is PRODUCT_ID = "SPM_FS3_yymmddhhhmmss" I.e. note that the _par and _raw are dropped w.r.t. the filenames | double check
rl-c-romap-103-RE | Richard/Emily | ROMAP | Question | rl-c-romap-3-fss-spm-v1.0 | data/sc/spm_fs3_141112173046_par.lbl |  | Is SPACECRAFT_CLOCK_START_COUNT < SPACECRAFT_CLOCK_STOP_COUNT here? Is that valid? SPACECRAFT_CLOCK_START_COUNT = "1/25132625.13" SPACECRAFT_CLOCK_STOP_COUNT = "1/13461073.21" | double check
rl-c-romap-104-RE | Richard/Emily | ROMAP | Editorial | rl-c-romap-3-fss-spm-v1.0 | document/eaicd_romap.pdf | eaicd_romap PDF | sec3.1.4: directory rl-c-romap-3-fss-spm-v1.0/data/sc has spm_fs3_141112173046_par.lbl spm_fs3_141112173213_raw.lbl spme_fs3_141112173046.tab spme_fs3_141112173213.tab spmf_fs3_141112173046.tab spmf_fs3_141112173213.tab spmp_fs3_141112173046_cna.tab spmp_fs3_141112173046_cne.tab spmp_fs3_141112173046_cra.tab spmp_fs3_141112173046_cre.tab spmr_fs3_141112173213_cn.tab spmr_fs3_141112173213_cr.tab The filenaming convention does not describe the e,f,p,r after spm, nor the _cna, _cne, _cra, _cre, _cn, _cr - sec4.3.6.4: needs updating, e.g. ROW_BYTES = 165 should be 168. Same for sec4.3.5.4.1 (large difference), sec4.3.5.4.2 (large difference), sec4.3.5.4.3, sec4.3.5.4.4, sec4.3.5.4.5, sec4.3.5.4.6, sec4.3.5.4.8 | see description
rl-c-sd2-101-RE | Richard/Emily | SD2 | Suggestion | rl-c-sd2-3-fss-v1.0 | aareadme.txt | Incorrect end of line char | Lines actually end in CRCRLF instead of CRLF | end line with CRLF
rl-c-sd2-102-RE | Richard/Emily | SD2 | Suggestion | rl-c-sd2-3-fss-v1.0 | catalog/dataset.cat | Better DATA_SET_NAME | The max DATA_SET_NAME is 60 characters, so you could expand either "SD2" or "FSS" to be more understandable instead of DATA_SET_NAME = "ROSETTA-LANDER 67P SD2 3 FSS V1.0" | consider
rl-c-sd2-103-RE | Richard/Emily | SD2 | Question | rl-c-sd2-3-fss-v1.0 | data/raw/*.lbl | Question | RECORD_TYPE = UNDEFINED PDS Standards section 15.4 says, "The use of the UNDEFINED record type when referring to a single data file is strongly discouraged." Can the data be characterized as a PDS object besides FILE? | provide answer
rl-c-sd2-104-RE | Richard/Emily | SD2 | Editorial | rl-c-sd2-3-fss-v1.0 | document/eaicd_sd2.pdf | eaicd_sd2 PDF | sec 3.1.4: "Example: SD2_FS3_041005204117_21.TAB" The filenames in this review all have 4 digits in the file number, i.e. _0021.tab - sec 4.2: Perhaps add dataset "RL-C-SD2-3-FSS-Vx.x" to the list - sec 4.3.2.3: SD2_CALIBRATED_L1.FMT mismatches label/sd2_calibrated_l1.fmt, e.g. column 2's BYTES = 14 is now 17 (column "SD2_ON_BOARD_TIME" is similar) - sec 4.3.3.3: SD2_CALIBRATED_HK.FMT mismatches label/sd2_calibrated_hk.fmt, e.g. column 2's BYTES = 14 is now 17 | see description
rl-c-sesame-101-RE | Richard/Emily | SESAME | Minor | rl-c-sesame-3-sdl-v1.0 | data/.../*lbl | Illegal format | This keyword has type CHARACTER, so change DATA_QUALITY_ID = -1 to DATA_QUALITY_ID = "-1" | see description
rl-c-sesame-102-RE | Richard/Emily | SESAME | Minor | rl-c-sesame-3-sdl-v1.0 | data/casse/hc/ses_fs3_chc_1411120745_taft.tab | Inconsistent and incorrect format | did not match label/taft3_fm3.fmt. Column 2 is wider than expected | see description
rl-c-sesame-103-RE | Richard/Emily | SESAME | Minor | rl-c-sesame-3-sdl-v1.0 | data/pp/am/ses_fs2_pat_1411120741_dacc.tab | Inconsistent and incorrect format | did not match label/pp_amt_dacc.fmt, for column 5 widens to 7 bytes at line 1174. BYTES=6 and .lbl's RECORD_BYTES=63 should be 1 higher, and the values in that column with only 6 characters need padding. | see description
rl-c-sesame-104-RE | Richard/Emily | SESAME | Minor | rl-c-sesame-3-sdl-v1.0 | data/pp/am/ses_fs2_pat_1411120741_rxc.tab | Wider column | Like the _dacc.tab file, the last column gets 1 wider at line 143. | see description
rl-c-sesame-105-RE | Richard/Emily | SESAME | Minor | rl-c-sesame-3-sdl-v1.0 | data/pp/hc/ses_fs2_phc_1411120902.tab | Inconsistent | Line 1, col 12 is 9 bytes, not 8 as the .lbl says. - Line 2, col 11 is 9 bytes, not 8 as the .lbl says. - Line 3, col 10 is 8 bytes, not 7 as the .lbl says | see description
rl-c-sesame-106-RE | Richard/Emily | SESAME | Minor | rl-c-sesame-3-sdl-v1.0 | data/pp/hc/ses_fs2_ppt_1411120902_rxc.tab | Inconsistent | Line 315, col 5 is 8 bytes, not 7 as the .lbl says. - Line 401, col 4 is 6 bytes, not 5 as the .lbl says. - Line 4001, col 4 is 7 bytes | see description
rl-c-sesame-107-RE | Richard/Emily | SESAME | Minor | rl-c-sesame-3-sdl-v1.0 | data/pp/pm/ses_fs2_ppt_1411121446_rxc.tab | Inconsistent | As before, columns 4 and 5 are 7 and 8 bytes, not 5 and 7 | see description
rl-c-sesame-108-RE | Richard/Emily | SESAME | Minor | rl-c-sesame-3-sdl-v1.0 | data/sesame/hk/*.lbl | Missing RECORD_BYTES | Keyword RECORD_BYTES is required, presumably set to 308 | see description
rl-c-sesame-109-RE | Richard/Emily | SESAME | Editorial | rl-c-sesame-3-sdl-v1.0 | document/eaicd_sesame.pdf | eaicd_sesame PDF | p.24 directory casse/hc is in the volume but not listed here - p.26 modes "at" and "pt" aren't listed though such files are in data/pp/. Maybe the filenames are wrong, e.g. _ppt_ should be _ppm_? Same with casse/hc/ - p.33, section 3.4.3.2: the filenames in document/ are different. - p.33, section 3.4.3.3: only 1 inst.cat was delivered. Will there be > 1? - p.34, table 3.6 needs updating to reflect the actual document/ - p.37 needs updating, e.g. table says "PP_AMT_DAC.FMT", but file is _dacc.fmt - p.39, table 4.2 does not include "RL-C-SESAME-3-SDL-V1.0" - p.41, bottom: INSTRUMENT_TYPE in the actual labels doesn't include "UNK", which is better. - p.42: "CASSE sounding, FM3, level 2 (1 label file pointing to 5 data files)". data/casse/sn had only 4 data files per .lbl - no _taft files. | see description
rl-c-sesame-110-RE | Richard/Emily | SESAME | Minor | rl-c-sesame-3-sdl-v1.0 | label/sesame_hk_fm3.fmt, label/stat2_fm3.fmt | Missing final CRLF | These files are oddly missing the final CRLF. % od -ch rl-c-sesame-3-sdl-v1.0/label/sesame_hk_fm3.fmt ¦ tail -5 0034160 E C T 4345 2054 2020 2020 2020 2020 2020 2020 0034200 = C O L U M N 2020 2020 203d 4f43 554c 4e4d 0034214 | see description
rl-c-sesame-111-RE | Richard/Emily | SESAME | Minor | rl-c-sesame-3-sdl-v1.0 | label/sesame_rmes.fmt | Illegal length | max length of this value is 24 characters MISSING_CONSTANT = "9999 9999 9999 9999 9999 9999 9999 9999 9999 9999" | see description

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial

## duplicate VOLUME_IDs
Data set | volume ID
ro-c-miro-2-prl-67p-v1.0 | ROMIR_1016
ro-c-miro-2-esc1-67p-v1.0 | ROMIR_1016
ro-c-miro-3-prl-67p-v1.0 | ROMIR_1017
ro-c-miro-3-esc1-67p-v1.0 | ROMIR_1017
rl-cal-cosac-2-phc-v1.0 | RLCOS2_1002
rl-c-cosac-rbd-v1.0 | RLCOS2_1002
rl-c-rolis-2-sdl-v1.0 | RLROL2_1003
rl-c-rolis-3-sdl-v1.0 | RLROL2_1003