## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-ROLIS-1xx-JL | Jian-Yang Li | ROLIS | Minor | All 4 ROLIS datasets | dataset.cat | Clarification | The data set descriptions are too generic. There should be at least enough detail to allow a user to distinguish between the contents of the various data sets. | Provide enough specific information to distinguish various datasets
RO-AR-RID-ROLIS-1xx-JL | Jian-Yang Li | ROLIS | Minor | rl-cal-rolis-2-phc-v1.0 | browse/ | Clarification | Browse facility is much appreciated. Can the occational blue-tone image be explained? | Explain it somewhere, or correct it
RO-AR-RID-ROLIS-1xx-JL | Jian-Yang Li | ROLIS | Minor | All 4 ROLIS datasets | dataset.cat | Note the FITS format | It is particulary important to mention that the files are FITS files in the PDS labels and documentation, since the files do not have any of the traditional FITS file extensions. | Note it in dataset.cat
RO-AR-RID-ROLIS-1xx-JL | Jian-Yang Li | ROLIS | Major | All 4 ROLIS datasets | data files | No DISPLAY DIRECTION keywords | The DISPLAY_DIRECTION keywords are absent | Provide those keywords
RO-AR-RID-ROLIS-1xx-JL | Jian-Yang Li | ROLIS | Major | All 4 ROLIS datasets | data files | FITS Header labels | FITS headers contains some essential information not included in PDS labels | Include the information in FITS headers to PDS labels
RO-AR-RID-ROLIS-1xx-JL | Jian-Yang Li | ROLIS | Major | All 4 ROLIS datasets | inst.cat | Insufficient description of image mode | No sufficient description about imaging mode provided to understand the data files (specifically, the stripes) | Provide such information
RO-AR-RID-ROLIS-1xx-TB | Tilden Barns | ROLIS | Minor | All 4 ROLIS datasets | Image data | Inconsistent geometry values | It may be that geometry values are not consistently supplied or not supplied (whichever makes sense) within or between data sets. This should be checked and, if necessary, corrected. | Check, correct

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial