## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Minor | All 32 OSIRIS datasets | dataset.cat | Clarification | The data set descriptions are too generic. There should be at least enough detail to allow a user to distinguish between the contents of the various data sets. | Provide specific information to each dataset
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Minor | All 32 OSIRIS datasets | dataset.cat, "Target Name and Description" section | Clarification | It's not clear which column in the table are used for TARGET_NAME keywrod | Specify the information
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Minor | All 16 OSIRIS level 3 datasets | dataset.cat | Data units clarification | Data units description are wrong for all level 3 datasets | Correct
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Major | All 32 OSIRIS datasets | dataset.cat | Clarification | Definition of "earth-observer-to-target" is not clear | Define it or correct it
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Major | All 32 OSIRIS datasets | dataset.cat | Insufficient information | No much useful information provided in the Confidence Level section | Add some quality assessment, or provide pointers to relevant references
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Minor | All 32 OSIRIS datasets | dataset.cat | Insufficient information | No description about how the data files are organized | Provide a brief description, or pointers to the relevant references
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Major | All 8 v1.1 OSIRIS datasets | dataset.cat | Insufficient information | No sufficient information provided to describe the change from v1.0 to v1.1 | Provide more information
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Major | All 32 OSIRIS datasets | data directory | Inconsistent number of images | The total number of images contained in level 2 and level 3 datasets are inconsistent | Check to make sure the images in level 2 and level 3 correspond to each other
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Major | All 32 OSIRIS datasets | All data files | TARGET_NAME keyword | The TARGET_NAME keywords in all images are the same (67P), which is wrong | Correct keyword values
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Major | All 32 OSIRIS datasets | Many images | Inconsistent file structure | Even in the same instrument and calibration level, object structure in data files was not consistent through a data set. | Change the structures of all images to make them consistent throughout the dataset
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Major | All 32 OSIRIS datasets | SIS document, Camera Frame section | Coordinate definition | Definitions of NAC_CAMERA_FRAME and WAC_CAMERA_FRAME are inconsistent | Correct the definition
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Major | All 32 OSIRIS datasets | dataset.cat, "Displaying the OSIRIS Images" | Coordnate definition | Directions of axes not defined | Add defintion of the direction of axes
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Major | All 32 OSIRIS datasets | All NAC images files | SAMPLE_DISPLAY_DIRECTION | The value "RIGHT" doesn't reflect the horizontal flip to match WAC. Mike A'Hearn noted that it is correct in the version of data within the team | Change to "LEFT"
RO-AR-RID-OSIRIS-1xx-JL | Jian-Yang Li | OSIRIS | Major | All 32 OSIRIS datasets | All images | Sub-S/C coordinate | The sub-spacecraft coordinates in all images are completely wrong. Mike A'Hearn noted that this is also likely that the pipeline is updated for team data but not archive data | Provide correct values

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial