## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
RO-AR-RID-PTO-101-LLR | Léna Le Roy | PTOLEMY | Major | All | "Documents"folder | missing documentation | No detailed physical description of the PTOLEMY mass spectrometer can be found. | Add your SSR paper (Wright et al, 2007, Volume 128, pp 363-381) and/or any thesis describing your mass spectrometer
RO-AR-RID-PTO-102-LLR | Léna Le Roy | PTOLEMY | Major | All | xxx.TAB file | file format not convenient to handle | The Tab files always contain more than one mass spectrum. This is really not convenient to treat the data. | I would advise you to create one TAB file per mass spectum
RO-AR-RID-PTO-103-LLR | Léna Le Roy | PTOLEMY | Major | All, "Mass spectrum" folders | xxx.LBL file | missing information in LBL file | Each Mass spectrum doesn’t point clearly to a scan function (WGA 2, 3 or 4). no information about the used scan function can be found in the corresponding LBL file. The lines 46 and 47 of the LBL file, (relative to INSTRUMENT_MODE_ID and INSTRUMENT_MODE_DESC) are filled with “N/A” | update your xxx.LBL file with the instrument mode ID and instrument mode description
RO-AR-RID-PTO-104-LLR | Léna Le Roy | PTOLEMY | Major | L3 folders | "CALIB" folder | missing documentation | I assume that the kind of used scan function cannot be directly written in the LBL file, but we can get it knowing the commanded mode. Nevertheless I found no list which links a mode to the corresponding scan function. | create a new document that describes which scan function is used for all the different modes
RO-AR-RID-PTO-105-LLR | Léna Le Roy | PTOLEMY | Major | L3 folders | "CALIB" folder | missing documentation | No equation is given to convert the counts into densities. | add to PTOLEMY_CALIBRATION_DESC.TXT a detailed description of how to get densities from the counts number.
RO-AR-RID-PTO-106-LLR | Léna Le Roy | PTOLEMY | Major | L3 folders | "CALIB" folder | missing documentation | no laboratory data with the fragmentation pattern of the major species detected in 67P, nor their sensitivities, a.k.a. the factors to convert the counts into a density, are provided. Therefore it is impossible to derive quantitative information from the PTOLEMY data. | the PTOLEMY team should provide the fragmentation pattern of the most common species detected in 67P and their sensitivity factors.
RO-AR-RID-PTO-107-LLR | Léna Le Roy | PTOLEMY | Major | L3 folders | xxx.TAB file | mass scale for L3 data correct ? | I wonder if the mass scale for the L3 data is correct: The mass range of these mass spectra is between 8.43 and 158.39 amu. This range seems to correspond to a mass scale derived from the WGA2 scan function (file: WGA2_CALIBRATION_20010523.TXT) Nevertheless by reading the PTOLEMY_CALIBRATION_DESC.TXT, the measurements performed during the FSS and RBD phase are mainly sniff mode, which correspond to WGA3 and WGA 4 scan function. As the mass calibration is not done the same way for theses different scan functions, I wonder if the mass scale that you provide for the L3 is correct. If I compare the mass calibration that you provided in the L3 archive for the rebond and the data in your science paper, they are different… | Check if the mass scale of L3 data is correct, if not, it should be corrected
RO-AR-RID-PTO-108-LLR | Léna Le Roy | PTOLEMY | Editorial | All, "Mass spectrum" folders | xxx.LBL file | missing information in xx.LBL file | the informations concerning the S/C position relative to 67, the latitude, longitude is filled with "N/A". I agree that for RBD and FSS phase, it is not possible now as you don't know the exact position of PHILAE on 67P, but for the PHC and PDCVS phase, these informations are known. | update your xxx.TAB file with the S/C position, the latitude and longitude for the prelanding phase
RO-AR-RID-PTO-109-MB | PSA-MB | PTOLEMY | Major | ALL except L5 | DATA/AUXILIARY | Table badly defined | the ROW_BYTES are missing the CR/LF and 2 must be added everywhere. | Change the ROW_BYTES
RO-AR-RID-PTO-110-MB | PSA-MB | PTOLEMY | Editorial | ALL | DOCUMENT | Non ASCII characters | TAB are in the PTOLEMY_CALIBRATION_DESC.TXT and TIMELEINE_*.TXT. | Replace TAB by Spaces.
RO-AR-RID-PTO-111-MB | PSA-MB | PTOLEMY | Major | ALL | DATA | Mismatch between TIME and S/c Clock | In AUXILIARY data 9 sec, 1 sec in FULL_SPECTRUM, 160818 sec in Level 5 | Recompute the times.
RO-AR-RID-PTO-112-MB | PSA-MB | PTOLEMY | Editorial | RL-C-PTOLEMY-3-FSS-V1.0 RL-C-PTOLEMY-3-RBD-V1.0 RL-CAL-PTOLEMY-3-PHC-V1.0 | CALIB/SNIFF_MODE_CONV_FACTORS.LBL | DATA_SET_ID mismatch | In this file the DATA_SET_ID is incorrect | Correct the DATA_SET_ID
RO-AR-RID-PTO-113-MB | PSA-MB | PTOLEMY | Major | RL-C-PTOLEMY-5-FSS-V1.0 | DATA/MS_AGILKIA.LBL | Table badly defined | Table object declare 142 rows but only 127 could be read in file DATA/MS_AGILKIA.LBL | Change ROWS value
RO-AR-RID-PTO-114-MB | PSA-MB | PTOLEMY | Major | RL-C-PTOLEMY-5-FSS-V1.0 | DATA/MS_ABYDOS1.LBL | Table badly defined | the size announced is 5112 (36*142) but the file is 5148 (143*36). FILE_RECORDS = 143 The number of ROWS is actually 128 but announced ROWS = 127. | Change ROWS and FILE_RECORDS
RO-AR-RID-COS-101-LLR | Léna Le Roy | COSAC | Major | RL-C-COSAC-3-FSS-V1.0\DATA | COS_FGMS3_141114140342_MSID.TAB | file format not convenient to handle | The MSID.Tab files contain more than one mass spectrum. This is really not convenient to treat the data. | I advise you to create one TAB file per mass spectum
RO-AR-RID-COS-102-LLR | Léna Le Roy | COSAC | Major | RL-CAL-COSAC-3-PHC-V1.0\DATA | COS_FGMS3_140421134704_MSID.TAB COS_FGMS3_140421141935_MSID.TAB COS_FGMS3_140421145333_MSID.TAB COS_FMSS3_140417073646_MSID.TAB | file format not convenient to handle | The MSID.Tab files contain more than one mass spectrum. This is really not convenient to treat the data. | I advise you to create one TAB file per mass spectum
RO-AR-RID-COS-103-LLR | Léna Le Roy | COSAC | Major | "DOCUMENT" folder | COSAC_CALIBRATION_DESC.TXT | missing information | for a correct quantitative analysis, you also need to know the fragmentation pattern of the species and their sensitivities. No information about them can be found in the calibration description. | the COSAC team should provide the fragmentation pattern of the most common species detected in 67P and their sensitivity factors. T
RO-AR-RID-COS-104-LLR | Léna Le Roy | COSAC | Major | "DOCUMENT" folder | COSAC_CALIBRATION_DESC.TXT | missing information | You provide an equation to apply the mass scale. I agree that for a first look it is sufficient. But as you have written, for a precise analysis, it is not. It would be appreciated if you can provide for the different time period the value for the parameter a and b of the equation: m/z=(binNo*a -b)^2 | It would be appreciated if you can provide for the different time period the value for the parameter a and b of the equation: m/z=(binNo*a -b)^2
RO-AR-RID-COS-105-LLR | Léna Le Roy | COSAC | Major | "DATA" folder | xxx.LBL | missing information | the ionisation current, the detector voltage, and the integration time are not contained in the header | update the .LBL file
RO-AR-RID-COS-106-LLR | Léna Le Roy | COSAC | Editorial | "DATA" folder | xxx.LBL | missing information | the informations concerning the S/C position relative to 67, the latitude, longitude is filled with "N/A". I agree that for RBD and FSS phase, it is not possible now as you don't know the exact position of PHILAE on 67P, but for the PHC and PDCVS phase, these informations are known. | update your xxx.TAB file for the prelanding phase
RO-AR-RID-COS-107-LLR | Léna Le Roy | COSAC | Editorial | All, "DATA" folder | xxx.LBL | missing description | The lines 31 and 32 of the LBL file, (relative to INSTRUMENT_MODE_ID and INSTRUMENT_MODE_DESC) are filled with “N/A” | update your xxx.TAB file
RO-AR-RID-COS-108-LLR | Léna Le Roy | COSAC | Major | L3 folders | "CALIB" folder | missing documentation | no list which links a mode to the type of analysis is provided | create a new document that describes the different modes
RO-AR-RID-COS-109-MB | PSA-MB | COSAC | Editorial | ALL | DOCUMENT/TIMELINE_*.TXT | Non ASCII characters | TAB present | Replace TAB by Spaces
RO-AR-RID-COS-110-MB | PSA-MB | COSAC | Major | RL-CAL-COSAC-3-PHC | CATALOG/DATASET.CAT | Time mismatch | There is a difference between the START_TIME in the DATASET.CAT = 2014-04-09T17:24:24.718 and the START_TIME in the Label COS_FXXH3_140409083424_1023.LBL = 2014-04-09T08:34:24.257

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial