## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
ROMAP-AR-RID-MAG-101-SPJ | Steven Joy | ROMAP-MAG | Minor | RL-C-ROMAP-3-FSS-MAG-V1.0 | dataset.cat has incorrect terse description | terse descr in ds.cat | terse descr in ds.cat describes the wrong data set | put correct terse descripion in catalog file
ROMAP-AR-RID-MAG-102-SPJ | Steven Joy | ROMAP-MAG | Minor | rl-c-romap-3-fss-mag-v1.0 | incorrect record length in the data labels | fix labels | labels give record length as 165 when the correct value is 168
ROMAP-AR-RID-MAG-103-SPJ | Steven Joy | ROMAP-MAG | Major | rl-cal-romap-2-pdcs-mag-v1.0, rl-cal-romap-2-phc-mag-v1.0, rl-cal-romap-2-fss-mag-v1.0, rl-cal-romap-2-sdl-mag-v1.0, rl-cal-romap-2-rbd-mag-v1.0, rl-cal-romap-3-pdcs-mag-v1.0, rl-cal-romap-3-phc-mag-v1.0, rl-cal-romap-3-fss-mag-v1.0, rl-cal-romap-3-rbd-mag-v1.0, rl-cal-romap-3-sdl-mag-v1.0, | /catalog | datset.cat files are insufficient | Dataset.cat file descriptions do not make it clear to a user that most of these data should not be used for science. For mission phases before separation, users should be directed to preferentially use the orbiter magnetometer data. For the remainder, users should be pointed to L5 data. Data confidence notes should state that significant magnetic contamination persists in these data. | Add requested content to each of the dataset.cat files
ROMAP-AR-RID-MAG-104-SPJ | Steven Joy | ROMAP-MAG | Major | rl-cal-romap-5-pdcs-mag-v1.0, rl-cal-romap-5-ffs-mag-v1.0 | /catalog | datset.cat files are insufficient | The dataset.cat file descriptions should indicate how these data were derived – they appear to be calibrated with a better model of the various sources on magnetic interference. Derived indicates irreversible data processing. | Add requested content to each of the dataset.cat files
ROMAP-AR-RID-MAG-105-SPJ | Steven Joy | ROMAP-MAG | Major | rl-cal-romap-5-pdcs-mag-v1.0, rl-cal-romap-5-ffs-mag-v1.0 | /data | incomplete data | The data appear to be incomplete (fewer data than in the L2 or L3 data sets for the FSS phase and none for the SDL phase). Since these appear to be the only truly useful data it would be good to have a complete set of these data. | Add missing data at this processing quality
ROMAP-AR-RID-MAG-106-SPJ | Steven Joy | ROMAP-SPM | Major | rl-cal-romap-2-phc-spm-v1.0, rl-cal-romap-2-fss-spm-v1.0, rl-cal-romap-2-rbd-spm-v1.0, rl-cal-romap-3-phc-spm-v1.0, rl-cal-romap-3-fss-spm-v1.0, rl-cal-romap-3-rbd-spm-v1.0, | /catalog | datset.cat files are insufficient | Update all dataset.cat files to at least describe the data at a high level and allow users to determine if they are usable for science or if another data set should be used instead. Many of the data fills are very sparse (mostly filled with zeros). This should be stated and explained in these catalog descriptions. | Add requested content to each of the dataset.cat files

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial