## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-RPCICA-101-SPJ | Steven Joy | RPCICA | Major | ro-c-rpcica-2-esc1-raw-v1.0, ro-c-rpcica-2-prl-raw-v1.0, ro-c-rpcica-3-esc1-calib-v1.0 | catatlog/dataset.cat | Add detail to dataset.cat files | Dataset.cat descriptions should at a minimum identify the processing level (raw/calib) and units (DN, flux). In addition, they should describe why the data files appear to be so sparsely populated (mostly zeros). Remove discussion of binning in mass from the L2 catalog files. | Provide dataset.cat files with descriptions that at a minimum identify the data processing level (raw/calib) and units (DN, flux). In addition, they should describe why the data files appear to be so sparsely populated (mostly zeros).
RO-AR-RID-RPCICA-102-SPJ | Steven Joy | RPCICA | Editorial | ro-c-rpcica-2-esc1-raw-v1.0, ro-c-rpcica-2-prl-raw-v1.0, ro-c-rpcica-3-esc1-calib-v1.0 | document/software/softinfo.txt | Add detail to softinfo.txt | Add usage discription to softinfo.txt, along with MATLAB version used to develop routines | Please add a statement providing the version of MATLAB used to produce the code, another indicating that the software is unsupported, and lastly, add a brief statement of how to use the programs provided.
RO-AR-RID-RPCICA-103-SPJ | Steven Joy | RPCICA | Editorial | ro-c-rpcica-2-esc1-raw-v1.0, ro-c-rpcica-2-prl-raw-v1.0 | browse/browinfo.txt | Add description of how plots were generated to browinfo.txt | Browse plots appear to have been either binned in azimuth and elevation angle or a single set of angles were selected. In addition, the units are physical so a calibration appears to have been applied. The browinfo.txt should be updated to describe how the data were processed to produce the plots provided | The browinfo.txt should be updated to describe how the data were processed to produce the plots provided.
RO-AR-RID-RPCICA-104-SPJ | Steven Joy | RPCICA | Minor | ro-c-rpcica-2-esc1-raw-v1.0, ro-c-rpcica-2-prl-raw-v1.0, ro-c-rpcica-3-esc1-calib-v1.0 | data/*geom.tab | Correct *geom.tab files | All of the *geom.tab files contain far more signficant digits than are valid | Provide the corect number of significant digits in the *geom.tab files.
RO-AR-RID-RPCICA-105-SPJ | Steven Joy | RPCICA | Minor | ro-c-rpcica-2-esc1-raw-v1.0, ro-c-rpcica-2-prl-raw-v1.0 | data/*geom.lbl | Correct *geom.lbl files | Add list of SPICE files used to create geometry data in the file labels and correct the significant digits on the values provided | Update the *geom.lbl to specify the set of kernels used to produce the geometry data i.e.SPICE_FILE_NAME = {“file1”, “file2”, … “fileN”} and to specifiy only a valid number of significant digits in the geometry data they contain.
RO-AR-RID-RPCICA-106-SPJ | Steven Joy | RPCICA | Major | ro-c-rpcica-3-esc1-calib-v1.0 | document/ica_l2_to_l3_eacid.pdf | Update the L2_>L3 EACID document | Add description of the specific processing of an example L2 file to its L3 form following a single file as an example | Add description of the specific processing of an example L2 file to its L3 form following a single file as an example
RO-AR-RID-RPCICA-106-SPJ | Steven Joy | RPCICA | Major | ro-c-rpcica-3-esc1-calib-v1.0 | data files | Data are irreversibly transformed from L2 data in the mass grouping step | The L3 data have been effectively binned in mass into two mass groups (solar wind and water). L3 data should not be irreversibly transformed from L2 data. These are L4 (resampled) data - and quite useful to the community as such. | If an L3 product is required, then a new data structure that is not binned in mass will need to be created. The existing data set should be archived as an L4 data set which would require a new data_set_id in the data set catalog and data labels.

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial