## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-RPCIES-101-SPJ | Steven Joy | RPCIES | Editorial | RO-C-RPCIES-3-PRL-V1.0 | ies_l3flux_analysis.pdf | Update processing document to provide example | Difficult to follow the calibration process for a given L2 file to L3 including which files are required and where that information is stored (data columns, labels, documents, etc.) | Please add a description of the calibration process following a single file from level 2 to level pointing out to the user which files are required and how the user could determine that list of files
RO-AR-RID-RPCIES-102-SPJ | Steven Joy | RPCIES | Major | RO-C-RPCIES-3-PRL-V1.0 | archive volume incomplete | archive volume incomplete | Please add missing archive volume files including but not limited to aareadme.txt, catalog files, index file, etc. | Sample files provided for review - expand to a complete archive volume
RO-AR-RID-RPCIES-103-SPJ | Steven Joy | RPCIES | Major | RO-C-RPCIES-3-PRL-V1.0 | data/ | errors in data labels | The data labels contain numerous errors | Labels contain two NOTE keywords in a single object with contradictory information about the label geometry data. The label geometry data have too many significant digits. The units of the FLUX columns are > 40 characters, use the incorrect notation for exponents ( ^ not **), contain spaces, and are not readily understandable. “(m^2 * s * sr * (eV/eV counts/particle))^-1“ Maybe “(eV*(cnt/particle)*s*sr*m**2)**-1” = 32 char or something similar. The “(eV/eV counts/particle)” is particularly confusing.
RO-AR-RID-RPCIES-104-SPJ | Steven Joy | RPCIES | Minor | RO-C-RPCIES-3-PRL-V1.0 | data/ | data file line terminators | missing <CR/LF> was observed in data files | Verify that the data files have the correct line termination and correct any problems that are found

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial