## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-RPC-MIP-101-PC | Patrick Canu | RPC-MIP | Major | ALL | Data Product Design EIACD 4.3 page 19 All files containing spectra | Spectral data format inadapted for end user | Data format not permitting quick and easy use by standard users and public software reading PDS files. Multiple entry for same time. The MIP data are based on frequency spectra as pointed out by the UM and files names. Data contents is one frequency step for each entry which requests significant software development, including knowledge of instrument and operations. Baseline IDL code for building spectra is about 20 pages. Rational to justify this design (avoid variable length EIACD page 19) not relevant since its conterpart is to report the knowledge of the complexity of instrument and operations and software development on end users. Similar to archive images with one pixel per entry. | Redesign the files containing spectra with one spectrum per time entry
RO-AR-RID-RPC-MIP-102-PC | Patrick Canu | RPC-MIP | Major | ALL | RPC-MIP-UG-LPCEE-V1.0 § 6.2 and § 7 | Missing descriptions of files content and use | The UM should provide a (quick) description of each data components for each files in the archive and its purpose, as well as an example of plot using each of these data. The only reference plot provided (figure 7) is not even commented. Interferences (§ 7.2.1) should also be illustrated. Phase spectra purpose is not documented, the "resonance frequency" included in power and Phase spectrum for Full, Survey/sweep mode is not described | Extend §6.2 in providing description of each data elements in the different archived files, provide commented example plots of various data products, provide description of "resonance frequency" and usage of phase files, provide illustrations of possible interferences and artifacts
RO-AR-RID-RPC-MIP-103-PC | Patrick Canu | RPC-MIP | Minor | ALL | RPC-Mip-UG-LPCEE-V1.0 §6.2 table page 12 | Data quality and missing files | 1- All files seem to be provided with a quality factor = -1 (not yet qualified). 2- The files containing the main outputs of the MIP instruments, density and temperature, are still TBD. The provision of these parameters can be time consuming and the authors announce a delivery on best effort basis. It could be however mentionned when these missing parameters could be delivered, even partially | Provide some status on missing parameters delivery
RO-AR-RID-RPC-MIP-104-PC | Patrick Canu | RPC-MIP | Minor | ALL | RPC-MIP-EAICD §2.2 page 8 | Missing informations | The documents indicates that"Geometrical and important HK information is associated with these data". This should be more precise in listing what specific informations are provided. While the spacecraft position relevant to the sun is indeed provided in the Labels, the fields for position relevant to the comet are all N/A, whereas these are critical for data analysis | Provide details on "important HK informations" and orbital elements relevant to the position of the spacecraft with respect to the comet (could be provided at the PSA level, SPICE not of easy access for standard users)
RO-AR-RID-RPC-MIP-105-PC | Patrick Canu | RPC-MIP | Minor | All | RPC-MIP-EAICD §3.4.3.5 | Browse files missing | Browse files were expected to be defined and delivered for the Comet Phase and are not found on review package | Provide status of Browse files
RO-AR-RID-RPC-MIP-106-MB | PSA-MB | RPC-MIP | Editorial | ALL | DATASET.CAT | Various issues | 1) The DATA_SET_RELEASE_DATE is before the data set creation. (June for PRL2, other are in November, updated to December to be more accurate) Corrected by Maud to 2015/12/15 2) typo: In the DATA_SET_DESC, the first character of the Coordinate System section is missing. 'he' => "The" Not corrected in PRL2 Corrected by Maud
RO-AR-RID-RPC-MIP-107-MB | PSA-MB | RPC-MIP | Editorial | ALL | DOCUMENT | PDF A | PDF must be provided in PDF A version. The team has now the document.Please, include them in the future archives.

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial