## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-INST-001-RAS | Simpson | CONSERT | Minor | RL-*-CONSERT-* | AOCS label files, approx line 13 | AOCS FILE_NAME error | All AOCS data files have extensions *.TAB. All labels for those files include correct pointers; but every FILE_NAME has a value with extension *.DAT | Fix the software (or template) that generates the AOCS labels
RO-AR-RID-INST-002-RAS | Simpson | CONSERT | Minor | RL-*-CONSERT-* | All AAREADME.TXT files | AAREADME.TXT sameness | The AAREADME.TXT files for the four data sets differ only in using different abbreviations for mission phases. This makes distinguishing among them difficult. | Revise the AAREADME.TXT files so content is unique and easily distinguished. Expand abbreviations for mission phase names to full words.
RO-AR-RID-INST-003-RAS | Simpson | CONSERT | Major | RL-*-CONSERT-* | All DATASET.CAT files | DATASET.CAT sameness | The DATASET.CAT files for the four data sets differ only in using different abbreviations for mission phases and having different dates and times. This makes distinguishing among them difficult and will seriously compromise their use as catalog files. | Revise the DATASET.CAT files so content is unique and easily distinguished. Expand abbreviations for mission phase names to full words.
RO-AR-RID-INST-004-RAS | Simpson | CONSERT | Minor | RL-*-CONSERT-* | All data file labels, approx line 34 incude "PRODUCT_TYPE=EDR". This does not distinguish AOCS from sample files. | Misuse of "EDR" | All data files, regardless of product type, include the line "PRODUCT_TYPE=EDR". Since AOCS files are different from sample files, this does not distinguish them. | In AOCS labels, use PRODUCT_TYPE=AOCS; in labels for sample files, use PRODUCT_TYPE=SAMPLE … or something equivalent
RO-AR-RID-INST-005-RAS | Simpson | CONSERT | Major | RL-*-CONSERT-* | EAICD, page 12, bottom | Sample sources | EAICD says "[T]he propagation from the orbiter to Philae synchronizes both time systems while the scientific measurement is in the propagation from Philae to the orbiter." If true, why are there *.DAT files with source = Lander? | Clarify how what appear to be correlator samples appear in *.DAT files.
RO-AR-RID-INST-006-RAS | Simpson | CONSERT | Major | RL-*-CONSERT-* | I/Q samples in *.DAT files | Missing correlation peaks | After unpacking I/Q samples, I squared and summed each pair; but there seems to be no peak | Review description of sample reconstruction, povide additional guidance on what to do with results.
RO-AR-RID-INST-007-RAS | Simpson | CONSERT | Major | RL-*-CONSERT-* | Documentation | Hidden Timing Information | Unable to find clear statement of how to extract delay/timing from data records, including spacing of I/Q samples as well as components of round-trip delay | Improved or additional documentation
RO-AR-RID-INST-008-RAS | Simpson | CONSERT | Major | RL-*-CONSERT-* | INST.CAT | Weak INST.CAT | Need more information about instrument(s), specifications, and operation. | Expand INST.CAT
RO-AR-RID-INST-009-RAS | Simpson | CONSERT | Minor | RL-*-CONSERT-* | AOCS labels | Bad MIL URL | Labels include MIL-STD-1750A URL for "format description"; the URL does not work. | Correct URL (or drop it if it has no value)
RO-AR-RID-INST-010-RAS | Simpson | CONSERT | Minor | RL-*-CONSERT-* | AOCS labels | Bad FILE_NAME | FILE_NAME values end with *.DAT; they should end with *.TAB | Correct file name extensions
RO-AR-RID-INST-011-RAS | Simpson | CONSERT | Minor | RL-*-CONSERT-* | AOCS label *.FMT | Difficult column definitions | Although probably adequate for incusion in labels, the L0*.FMT file is difficult to read/understand. | Provide a reference that will provide more information AOCS column definitions.
RO-AR-RID-INST-012-RAS | Simpson | CONSERT | Minor | RL-*-CONSERT-* | AOCS files | Suspect temperatures | Oscillator and board temperatures are given as numbers in the range 178-181C; this seems high. | Check definitions for columns 40, 87, and 88.
RO-AR-RID-INST-013-RAS | Simpson | CONSERT | Minor | RL-*-CONSERT-* | AOCS files | Zeroes for some AOCS columns | Columns 34-39 appear to have values "0" when something else might be expected | Check values and definitons for columns 34-39
RO-AR-RID-INST-014-RAS | Simpson | RSI | Major | RO-X-RSI* | All | Minimal data | If the review is to cover data collected from Hibernation through the beginning of Escort, then two observations from late March and early April 2014 is not representative. Only one instrument mode through one ground station with no science content is represented. | Provide additional data
RO-AR-RID-INST-015-RAS | Simpson | RSI | Major | RO-X-RSI* | All | Outdated documentation | With very few exceptions, the documentation has not been updated since about 2006. | Review and update documentation.
RO-AR-RID-INST-016-RAS | Simpson | RSI | Major | RO-X-RSI* | 2014 ops log, RSI Activity column | 2014 ops log/COM | All but one of nearly 500 entries is listed as "COM". There were other activities. | Correct the ops log
RO-AR-RID-INST-017-RAS | Simpson | RSI | Major | RO-X-RSI* | 2014 ops log, RSI Activity Column | Missing BSR | Six bistatic radar experiments were conucted in 2014; they are missing from the ops log | Add the BSR entries
RO-AR-RID-INST-018-RAS | Simpson | RSI | Major | RO-X-RSI* | DATASET.CAT | Activity descriptions | There is no information on the objectives of any COM observation. | Add details for each COM activity to its respective DATASET.CAT file.
RO-AR-RID-INST-019-RAS | Simpson | RSI | Major | RO-X-RSI* | R32ICL1L1B_AG1_140891743.LBL | Incorrect record and byte counds | MANY labels give wrong record and byte counts for associated data files | Check and correct all labels.
RO-AR-RID-INST-020-RAS | Simpson | RSI | Major | RO-X-RSI* | DOCINFO.TXT | Incorrect DOCUMENT listings | Remove irrelevant documents, add missing documents, ensure that lists of dcuments elsewhere (e.g., AAREADME.TXT) are consistent.
RO-AR-RID-INST-021-RAS | Simpson | RSI | Major | RO-X-RSI* | documentation | Spurious references to MEX, VEX, and Stanford | Software and documentation has been written to cover MEX and VEX as well as RSI. In some places MEX and VEX references appear where only RSI is appropriate. Stanford is mentioned several times as being involved in processing and archiving (DATASET.CAT); Simpson is incorrectly listed as an RSI contact at the end of AAREADME.TXT.
RO-AR-RID-INST-022-RAS | Simpson | RSI | Minor | RO-X-RSI* | DATASET.CAT | HGA Patterns | DATASET.CAT mentions availability of HGA patterns from the DSN. They are not included, but they should be (source ESA). HGA patterns are not needed for the two data sets under review here; but they are critical to bistatic radar observatios later.

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial