## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-SESAME-101-KJW | Kevin Walsh | SESAME-CASSE | Major | rl-c-sesame-3-sdl-v1.0 | rl-c-sesame-3-sdl-v1.0/document/ses_cas_calibration_desc.asc | Insufficient CASSE Calibration Information | The calibration information is listed as "TBD" in ses_cas_calibration_desc.asc. No information provided in the EAICD or Manual. | Provide relevant calibration in EAICD and in the calibration document in the submission. |  | Should be there in a document the name of which I did not get
RO-AR-RID-SESAME-102-KJW | Kevin Walsh | SESAME-CASSE | Major | rl-c-sesame-3-sdl-v1.0 and rl-c-sesame-2-sdl-v1.0 | Directory structure | Organization Issues | Directory does match EAICD description in Figure 3.3 in EAICD. No Calibration/ Extra/ Geometry/ or Software/ directories. There was no LM/ directory in the PP/ directory and no LI/ or TR/ directory in the CASSE/ directory/ . There was unexpected hc/ directories in the CASSE/ directories. | Edit the EAICD or alter the directory structre, or leave clear notes for the used in dataset.cat or in the EAICD. |  | Need to check
RO-AR-RID-SESAME-103-KJW | Kevin Walsh | SESAME-CASSE | Major | rl-c-sesame-3-sdl-v1.0 and rl-c-sesame-2-sdl-v1.0 | Documentation | Insufficient description of operational parameters | Many data file entries are not explained in enough detail for a user to interpret their meaning or to use them for scientific use. | Improve descriptors in format files (*.fmt) and/or increase amount of descriptions in the EAICD file or other documentation. | Should be in FLight Software User Manual but Kevin did not find them there - maybe he missed them? | Will check format files with SONC
RO-AR-RID-SESAME-104-KJW | Kevin Walsh | SESAME-PP | Minor | rl-c-sesame-3-sdl-v1.0 and rl-c-sesame-2-sdl-v1.0 | dataset.cat | Calibration Information Location | The calibration ifnormation is in documents/, but its location is not indicated in the dataset.cat or described in the EAICD. | Indicate location of the calibration information. Either in the dataset.cat or in the EAICD. Including the calibration information in the EAICD is also a good solution |  | ???

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial