## RIDs
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Review board Discussion outcome | Instrument Team Response
Please use the following syntax: RO-AR-RID-INST-1XX-INI (e.g. RO-AR-RID-VIRTIS-101-SB), where INST is the instrument you are reviewing, 1XX the RID number submitted (which should be increased by one for all new RID), and INI your initials. | Insert your name | Insert the name of the instrument you are reviewing |  | Insert the dataset ID for which you report a RID | Try to give as much details on where you found the problem: Document (page, line), Data product, others | Propose a brief high level title for this RID. | The full description of the RID shall be placed here. You can put as many detail as you think are useful. | Provide a proposal on how to address the RID you have raised | To be filled after meeting discussion. Refer to "Proposed Solution by reviewer" if there are no changes. | Response by the Instrument team to the board conclusion
RO-AR-RID-VIRTIS-101-SB | DiSanti (MAD) | VIRTIS | Major | MTP009-stp025 | geo/virtis_h | Distances & | In Table 3 of "virtis_geometry.pdf" (pp. 11-12),
[6 empty] | Elevations | IDL plane#17 is surface elevation, wrt "Digital Terrain Model"
[6 empty] | units: m | which is taken to mean the reference ellipsoid. In this way
negative values are ok (e.g. -162 to -561 m for geo/virtis_h/t1_00373272493.geo), on 2014-Oct-30.
IDL plane#18 is s/c slant distance from surface ellipsoid (varies from 25.475 to
[5 empty] | geo/virtis_m_vis |  | 26.414 km). This is ok, however for geo/virtis_m_vis/v1_00373274734.geo, plane#18
varies from 27.181 to 27.267 km, while plane#17 varies from 100.822 to 100.386 km.
[7 empty] | Question: How can surface elevations of ~100 km exist on such a small nucleus? | This needs to be checked for all files, or Table 3 should be modified separately for -H and -M files | Needs some more descriptive text in document or pointers from table to text & figure | Multiple uses of these lines depending on whether the the LOS intersects the surface or not - large offset for elevation when LOS is off the nucleus. Explained elsewhere in the documentation
Radiance Uncertainties
|  |  | Major | MTP009-stp025 | cal/virtis_h |  | In 't1_00373272493.cal', sigma_radiance = 0.00000 for all 448 line spectra in this file |  |  | will insert a flag to note that it is not calculated
This is not physical, either characterize in terms of detector and/or signal noise, or denote
by a numerical flag (e.g., -9999)
|  |  | Major | MTP006-stp011 | cal/virtis_m_vis |  | In 'v1_00365574167.cal', sigma_radiance seems too large, perhaps by a factor of 10 based
on "noise" level in a spectral extract (e.g., in the line spectrum represented by row 212 in frame #50),
[7 empty] | and therefore the implied SNR = 1-2, however it is clearly much higher than that. | This needs to be checked for the dataset as a whole. |  | probably due to significant variation of noise across spectrum, ie varying with signal strength; will check that all available info is in archive
|  |  | Minor | MTP009-stp025 | cal/virtis_h |  | Consistency of lambda cal in regions of overlapping lambda among adjacent orders. Need to |  |  | Calibration procedure is still maturing - ok with reviewer
understand how wavelength calibration is parsed across orders. May only be a minor concern,
I'm not sure…meaning this may be a more minor than major concern.
General: The PDS manifest indices are missing.
Are consistent values obtained using the PDS-3 reader, versus the virtuspds IDL package?
Added 16 Feb 2016 -- role of 'dark' files in -H mode…
|  |  |  | MTP009-stp025 | cal/virtis_h | dark subtraction: | I plotted line spectra separately for each order (1-8) for a .cal file. So order1 was 0:431 (IDL format). |  |  | Dark very sensitive for H & requires interpolation in time and much larger than the actual signal
[6 empty] | role of .drk files | I noticed intermittent "spikes" that I took to be hot pixels. So I plotted similarly for the corresponding .drk spectrum,
however the drk signal was much higher (10**4, versus ~0.1 for .cal). Perhaps there is a difference in calibration?
In other words, when I subtracted the drk spectrum from its corresponding cal spectrum I saw highly negative
numbers.

## Help
RID = Review Item discrepancy
1- Please fill one line per RID
2- See the example sheet on how to fill in each fields
3- The dataset name corresponds to the dataset ID
If you need assistance, please contact
Laurence.O'Rourke@esa.int
sebastien.besse@sciops.esa.int
dfraga@sciops.esa.int
dheather@rssd.esa.int
Maud.Barthelemy@sciops.esa.int

## Example
RID reference ID | Reviewer | Instrument | RID Clasification (Major, Minor, Editorial) | Dataset | Location | Title | Description | Proposed Solution by reviewer | Proposed Solution after review meeting | Instrument Team Response
RO-AR-RID-VIRTIS-101-LOR | Laurence O'Rourke | VIRTIS | Major | All | xx.TAB | Systematic discrepancy | There is a systematic discrepancy between….. | The instrument team should make sure the items are the same | The instrument team shall make the following changes : -x - y | We accept x but cannot accept y due to significant implementation effort.
RO-AR-RID-SD2-101-SB | Sebastien Besse | SD2 | Editorial | RL-C-SD2-3-FSS-V1.0 | DATASET.CAT | Missing description | There is no description of …. | The instrument should provide this information | Minor update to document needed | Agreed

## Sheet4 (hidden)
Levels (do not delete this)
Major
Minor
Editorial