## Slide 1: Rosetta MIDAS PDS Review
A Steele

## Slide 2: Issues
Biggest issue is the use of BCR-STM format to view 3-D images. Relies on Commercial software interface – SIPS.
This was an issue brought up in the preliminary review.
Cannot open the data files to accurately assess the data product in 3-D.
All other aspects of the posted data seem OK.
All references to data product mention BCR file formats including .lbl files associated with each product

## Slide 3
NASA View Software
SPIP format reading BCR-file
Tested two ways of viewing a file
A lot more information available to the viewer in the BCR format

## Slide 4: Information in formats
NASA View format limited read of the information available in the image. However image is available in the labels
All information immediately loaded up in BCR format

## Slide 5: 3D only in BCR format

## Slide 6: Mitigation
Add a different file format to the files.
Work with open source developer to enable NASA view software to process files.