## Slide 1: Rosetta Orbiter RPCIES Archive Comments ro-c-rpcies-2-esc1-v1.0 ro-c-rpcies-2-prl-v1.0 ro-c-rpcies-level3-samples
S. Joy

## Slide 2: Overview
All of the r0-c-rpcies* review volumes share a large number of common files: catalog files, documents, required files (Xxinfo.TXT), etc. rather than repeating comments on those files in every presentation my comments are all included here
Most of the common files have been previously reviewed so there is an expectation that the files would be in pretty good shape.

## Slide 3: Root Directory Files
ro-c-rpcies-2-esc1-v1.0
  aareadme.txt and voldesc.cat present and acceptable
ro-c-rpcies-2-prl-v1.0
  aareadme.txt and voldesc.cat present and acceptable
ro-c-rpcies-level3-samples
    None present

## Slide 4: Catalog Files
catinfo.txt (says that rpcies_software.cat contains info about software submitted while file says that no software are provided.)
mission.cat (various typos, content fine)
insthost.cat (various typos, content fine)
rpcies_ref.cat
rpcies_inst.cat
rpcies_software.cat
rpcies_pers.cat
dataset.cat - ro-c-rpcies-2-esc1-v1.0 – ok
dataset.cat - ro-c-rpcies-2-prl-v1.0 – ok
dataset.cat - ro-c-rpcies-level3_samples – no catalog directory

## Slide 5: Calib
calinfo.txt (both l2 volumes)
azimuth_angles.tab (.lbl) - ok
elevation_angles.tab (.lbl) - ok
energy_steps.tab (.lbl) – ok

## Slide 6: Document
docinfo.txt (all volumes)
anodes.pdf (.lbl) - ok
8182-calpfm-01_r0.pdf (.lbl) - ok
10991-ies-eaicd-01.pdf (.lbl) – ok
ies_modes.pdf (.lbl) – ok
ies_l3flux_analysis.pdf (.lbl) – sparse,
  RID: Provide an example calibration following an existing L2 data file throught the steps required to produce the corresponding L3 file.

## Slide 7: Index Files
indxinfo.txt
  Does not mention checksum file or its usage, consider adding
index.tab (.lbl)
checksum.tab (.lbl)

## Slide 8: Data: ro-c-rpcies-2-XXXX-v1.0
There are two types of level-2 data
  Ions and Electrons
  Data are binned onboard in energy, azimuth, and elevation to reduce data volume
Files are 1 day in duration and 16-256 MB per species per day
Data files appear nominal
  Highest counts in low energy channels
  Ions more directionally limited than electrons

## Slide 9: Data: ro-c-rpcies-3-XXXX-v1.0
Data mirror the L2 data files in content, structure, and size
Data appear to be nominal, although data files might be missing <CR/LF> line terminators
  RID: verify that all data files have the correct line terminations
Data labels are invalid:
  RID: Labels contain two NOTE keywords in a single object with contradictory information about the geometry label geometry data
  RID: The label geometry data in the labels have too many significant digits
  RID: The units of the FLUX columns are > 40 characters, use the incorrect notation for exponents ( ^ not **), contains spaces, and are not readily understandable. “(m^2 * s * sr * (eV/eV counts/particle))^-1“ Maybe “(eV*(cnt/particle)*s*sr*m**2)**-1” = 32 char
  or something similar. The “(eV/eV counts/particle)” is particularly confusing.

## Slide 10: Summary
The L2 data and documentation are all in good shape
Level 2 data
  RIDs: None
Level 3 data
  RIDS:
    Update flux analysis document to provide an example following a single file from L2 to L3.
    Correct the various errors in the data labels
    Verify that the data files have the correct line terminations
    Complete the volume (catalog files, index, aareadme, etc.)