## Slide 1: New Horizons Alice PDS-SBN Review
Lori Feaga
June 19, 2017

## Slide 2: NH Alice Data
Overall – in good shape
Minor typos that don’t affect the usability of the data, but should be cleaned up

## Slide 3: aareadme.txt (and document/aareadme_bu.txt)
Both Level 2 & 3 data sets
  Period/punctuation use is random in the Volume Contents organization table
  Alan Stern’s contact listing doesn’t give the SwRI abbreviation like Tiffany Finley’s does

## Slide 4: catalog/alice.cat
Both Level 2 & 3 data sets
  In INSTRUMENT OVERVIEW, Description, Rosetta in the present tense as a current mission
  In Scientific Objectives, the punctuation is random in the listing of the Objectives

## Slide 5: catalog/dataset.cat
Both Level 2 & 3 data sets
  “Pixel List”, “Pixel list”, “pixel list”, and “pixellist” are used interchangeably
  In ABSTRACT_DESC, typo in the word calibrated in the phrase “calibration file (pa_aeff_007.txt) changed the calbrated data”
  TARGET_NAME = “RHO LEO” but in the index files (index.tab and slimindx.tab) both “RHO LEO” and “RHOLEO” are used

## Slide 6: calib/calinfo.txt
Both Level 2 & 3 data sets
  Suggest a LABEL_REVISION_NOTE be added or change the PUBLICATION_DATE, clearly it has changed since 2007-09-11
  To punctuate or not, that is the question
  pa_aeff_socc_001.tab is superseded yet still has an “*” indicating its current use in the pipeline
    remove the “*”
  For posterity, were there ever pa_wave_001, pa_aeff_001, 002, or 003 files?

## Slide 7: calib/calinfo.txt

## Slide 8: calib/pa_aeff_*
Both Level 2 & 3 data sets
  004.lbl: In DESCRIPTION end of first paragraph, incomplete thought
  005.lbl: Consider noting that this file is superseded
  socc_001 & 002: Consider noting that these files are for the 2° x 2° SOCC

## Slide 9: Examining the Effective Areas

## Slide 10: Effective Area Continued

## Slide 11: index/slimindx.tab & .lbl
Slim index file has 4 columns but the label describes 3 – cut and paste error when trimming the index file, grabbed too much real estate

## Slide 12: Alice Slit Shape
Row 19 (zero indexed)
Row 6 (zero indexed)
Row 25 (zero indexed)
Row 18 (zero indexed)
Solar
Occultation
Channel

## Slide 13: Lollipop “fuzz”
To reduce sensitivity at the bright HI Lyman-α emissions at 1215 Å, a 70 Å band of the photocathodes were not coated with KBr or CsI. However, in the 2°x2° box portion of the slit, the HI Lyman-α spreads out beyond the uncoated portion of the detector an additional ~110 Å. So, for ~90 Å [(70 + 110 )/2] on either side of the coated photocathodes, there is contamination from HI Lyman-α that has been dubbed the lollipop fuzz.
λ 

## Slide 14: Lollipop Fuzz Verified Spectrally

## Slide 15
Checked data with NASAVIEW, SAOImage ds9, IDL ReadPDS
  could display data with labels as expected

## Slide 16: Spectrum of Pluto on Final Approach