## Slide 1: Comet ISON *** 2013 HFOSC Observations Collection
Review by Matthew Knight
October 6, 2017

## Slide 2: Overview
Monthly (Jan, Feb, May, Sep, Oct, Nov) datasets of Comet C/2012 S1 ISON from observatories in India and/or Israel
Contains imaging and spectra
  From a quick literature search there are no published low resolution optical spectra of ISON, so this is a particularly valuable addition
Documentation generally good, with a useful overview text file and more detailed PDF listing specific image information
  Some additional information provided such as IRAF scripts, one instrument manual
Clear and consistent layout of subdirectories
XML accurate as far as I can tell
Data inconsistent at time (discussed subsequently)
  Processing appears to not always be correct
    Some “calibrated” spectra appear to be useless
  Some calibration data acquired on different dates (not ideal, but nothing that can be done about this now)

## Slide 3: Documentation (1)
A few minor typos noted elsewhere
References in overview.txt not listed
Were images observed at the sidereal rate or comet’s rate?
  Looks like comet’s rate, but I didn’t see in documentation
Derived spectra is confusing (right)
  This isn’t “albedo”
  What has been applied to smooth this?
  Not clear how the ”relative flux” plot (next slide) was derived
Jan documentation

## Slide 4: Documentation (1)
A few minor typos noted elsewhere
References in overview.txt not listed
Were images observed at the sidereal rate or comet’s rate?
  Looks like comet’s rate, but I didn’t see in documentation
Derived spectra is confusing (right)
  This isn’t “albedo”
  What has been applied to smooth this?
  Not clear how the ”relative flux” plot (next slide) was derived
Jan documentation

## Slide 5: Documentation (2)
Units not always consistent
February (right) shows “counts” but numbers are way too low to be counts
The sentence before the figure is the same as January, but something different is plotted
Feb documentation

## Slide 6: Documentation (3)
2013november_spectroscopy.pdf has layout issue
Science question: what are these lines? (next slide)
Nov documentation

## Slide 7: Documentation (4)
November spectroscopy looks plausible (my annotations on top panel)
But amplitudes of lines at longer wavelengths look strange
Looks like some absorption lines (e.g., ~7600 Ang)?
Reference solar spectrum used in calibration seems to be available so could dig into processing more (but I didn’t get a chance to as I focused on imaging)
C2
C2
C2
C2
NH2+O(1D)
C2
NH2
NH2
CN?
Feldman et al. (2004)

## Slide 8: Bias and flatfielding
Major structures removed
Variations appear to be suppressed but not removed in some images (right)
Most images look good so probably not a systematic problem
  Weird images highlighed later
raw
Bias and flat-fielded

## Slide 9: Is header useful?
Exposure time = 300
  Start/end time differ by 411
  Is readout time really 111 sec?
Object = ISON
Filter = I
  But given as part of COMMENT, not it’s own keyword
Gives date, time that are consistent with RA/Dec (not shown)
Airmass not given but can be determined retroactively with some work

## Slide 10: Is FOV accurate?
RA/Dec in header are accurate
Image dimensions appear to be accurate (~10x10 arcmin)
Image needs 180 deg rotation in ds9 for N up and E left
  Horizontal_display_direction = left to right
  Vertical_display_direction = bottom to top
  Documentation implies E right and N up (I think?)

## Slide 11: Feb 19
Something went wrong in processing
Sources negative (black)
Worse background than in raw images
  Background is constant in all frames
Flats have counts ~27k (usual custom is to normalize to ~1). Maybe these were not constructed/applied correctly?
  Feb 21, 22 flats have similar counts but processed images look okay

## Slide 12: May
Some images not full size. Documentation does not say why
  We10023.fit, we010025.fit, Zero.fits
Processed full size images look good

## Slide 13: Oct 1
Processed images look ugly. Why?
Oct 3 looks okay

## Slide 14: Oct 3
Landolt standard star SA95-41 (and others) identified
Documentation never says this is a “Landolt” field?
  Add reference to Landolt paper?
Landolt (1992)

## Slide 15: Do I get reasonable magnitudes for ISON?
Calibrate Oct 1 data with field stars from UCAC4 catalog (B and R)
Yields R=13.8, B=14.5 in r=50 pix aperture
  Consistent with community magnitudes at the time which are 13.5-15
But I have some concerns:
  Different exposure times for B yielded different zero point magnitudes by ~0.2
    Should not have been due to aperture size (chosen to be beyond trailing in both frames)
    Airmasses not given, but I calculate 2.30 vs 2.07; effect should not be this large, but does go in correct direction
  Zero points from Landolt fields with same instrument two nights later differ by 0.7-1.3 mag
    I did not determine airmasses, but difference is implausibly large for any reasonable airmass
    Possibly related to different shape/appearance of background? E.g., were these processed in the same way?

## Slide 16: Blank “calibrated” spectra
What is going on on Nov 8, 11, 12, 13 (comet); Feb (all but flat); Jan (continuum)?
Calibrated spectra look blank
  Units are ~1038!
Raw image looks like expected
Accompanying *.tab files look reasonable
Nov 9 and most other spectra are a data cube with 4 extensions
  Extensions explained in xml, but not in documentation?
  Explanations still confusing (right):
    Says it’s HR3951, not ISON?
  Found at least one other image with only 3 extensions (October)
Nov 8 spectral image