## Slide 1: Apache Point PDS Delivery Review
May 15,2018
Karl Hibbitts

## Slide 2: Summary of Data Under Review
Apache Point spectra of Uranian satellites observed in 2013
  Ancillary data is present
    Scan of the Completed Observer’s LogSheet
    APO TripleSpecTool User’s Guide
    List of data files, the “inventory”
    Overview text of data acquisition and processing, including references
  Data is present
    Arranged in three directories: raw, processed, and calibration.
    Very easy to load and display. Appears as expected.
  Issues
    Wavelength calibration of processed spectra is suspect

## Slide 4
Wavelength calibration is suspect