## Slide 1: PDS Review Rosetta RPC-IES
Yaxue Dong
CU-Boulder/LASP
University of Maryland, College Park, MD
July 9, 2018

## Slide 2
Overview
Data:
  Rosetta-Orbiter RPCIES Escort 1 67P Resampled Data (1 week Sample): RO-C-RPCIES-4-ESC1-V1.0
    rpcies201500*_l4elc_mom_v1.lbl
    rpcies201500*_l4elc_mom_v1.tab
    rpcies201500*_l4ion_mom_v1.lbl
    rpcies201500*_l4ion_mom_v1.tab
Documents
  rpc_user_guide.pdf
  flux_calculation.pdf

## Slide 3
RPC-IES l4 sample data

## Slide 4
    labels
Instrument mode?
Quality flag description not clear
Some documentats not found
?
?
All data can be read correctly using the PDS ILD software

## Slide 5
Data plots

## Slide 6
Data plots
Quality flags always 0?
Identify different ion species from IES?
ni<<ne?

## Slide 7
Duration all 0?

## Slide 13
Summary
Labels
  Worked well. All data can be read successfully using the PDS3 IDL software
  No instrument mode information
  Unclear quality flag description
  Some documents mentioned in the labels cannot be found
Ion and electron moment data
  Quality flag all 0
  How to identify different ion species (Q/m) from IES data?
  ne >> ni
  2015-002 (Jan 2): all durations are 0

## Slide 14
Documents
rpc_user_guide.pdf
flux_calculation.pdf

## Slide 15
The user guide is a draft version that needs lots of editing and inputs
There is no description at all for the l4 ion/electron moment data. May need a documentation to describe how to calculate moments (l3 to l4)
e.g.

## Slide 16
rpc_user_guide.pdf

## Slide 17
Numbers don’t match. 18 azimuthal angles as in the instrument paper (Burch et al., 2007)
Page 2
Burch et al., 2007
Inconsistent IES angular channel descriptions

## Slide 18
Page 36
Page 40
IES electrons
Numbers don’t match
Inconsistent definitions of azimuthal, polar, and deflection angles from Section 1 and Burch 2007 instrument paper

## Slide 19
Page 4
Most figures in this documentation are not numbered
RPC0? SSP?
Better to have figures for each instrument, especially for IES and ICA

## Slide 20
Page 15
Page 12
Inconsistent LAP Macro IDs
Not explained

## Slide 21
Page 45
Page 42
Inconsistent symbols for s/c potential:
Vs or Vsc

## Slide 22
Page 46
?
?
?
?
?
?
Probably put the IES l4 moment data descriptions here?

## Slide 23
Page 78
Why?
Why?

## Slide 24
Page 78-79
This paragraph is not related to MAG data, but a duplicate of some IES description from page 72.

## Slide 25
Page 80
?
Red and blue?
Big difference between OB and IB. Why still green flag?

## Slide 26
Page 3
Provide full name or where to find it
Unexplained abbreviations
Page 4
Page 5
Page 6
Page 7

## Slide 27
Page 14
?
Unit?

## Slide 28
Page 27
Page 79
Page 85
?

## Slide 29
Page 87-101
Some references are missing doi

## Slide 30
flux_calculation.pdf

## Slide 31
This is well written without major problems.
Minor comments:
Page 1
Suggest to add units

## Slide 32
Page 5
What is it?
Gaussian + quadratic polynomial
6 parameters to fit?

## Slide 33
Page 7
doi missing

## Slide 34
Can the data and documentation be released?
Level 4 data:
Yes, but need some more explanation
Documents
  rpc_user_guide.pdf: No
  flux_calculation.pdf: Yes
  Need to add documents for l4 data