## Slide 1
ROSETTA RPCMAG
Archive Data Review
ESAC, 2018 October 9-10
Magda Delva
Space Research Institute (IWF) Graz, Austrian Academy of Sciences, Austria

## Slide 2: RPCMAG
Goals of archive user: use the good data
Where is the description of the data?
Where are the good data?
Which data can I trust and use?
For MAG:
Data of magnetic field of outer space, timeseries normally : 1 vector (x,y,z)
RID 001 (major):
Put MOST IMPORTANT DOC on
- Documents directory ROOT
RO_IGEP_TR0074_MAG_USRGUIDE (& RO_IGEP_TR0009_EAICD)
=> omit SEARCH & comparison of different docs ….
(rename to MAG_DATA_USRGUIDE ? )

## Slide 3: RPCMAG
RID 006 and 15 (major)
(in MAG_USRGUIDE , Chap.3.4.2 p 19, Chap.1)
MAG data are normally timeseries of only 1 vector (Bx, By, Bz; Bt) independent of sensor !
RPCMAG:
two vectors (at two sensors) for ALL calibrated & resampled data
Explain already on FIRST page of MAG_USRGUIDE
why it was not possible to derive ONE single vector from the measurements at two sensors
Please explain WHEN & HOW to use BOTH vectors and what to do when they are different (explain the use of the difference )!

## Slide 4: RPCMAG
RID 002 (major): (in MAG_USRGUIDE , Chap.3.3)
Explain what “calibrated” means:
Normally, MAG data are corrected (calibrated) for
sensor effects
SC DC field effects (‘constant’ background field of SC)
SC AC field effects (timely variable effects of switching, currents, etc on SC)
My understanding for RPCMAG:
sensor effects & SC DC field is corrected for
AC SC field effects still on data
Please explain what “calibrated data” means for RPCMAG, i.e. which effects is corrected for and what is still in the data

## Slide 5: RPCMAG
RID 003 (major): (in MAG_USRGUIDE , Chap.3.3 and DATA –dir)
Probably: different reference frames used in different phases of mission
And: data possibly in different ref.frames in ONE sub-dir…?
Higlight REFERENCE FRAME of data in directory- of file-names
e.g. LEVEL_C_CSEQ
RID008 (minor): (in MAG_USRGUIDE , Chap.4.1)
Better explain effect of AC disturbance sources (eg. heaters, LANDER instruments effects) and give some idea when & how often they occur
RID013 (minor): (in MAG_USRGUIDE , Chap.5)
Flagging not clear:
were (bad) data removed?
were (bad) data flagged
were quality-flags set for data, but ALL data miantained ?