## Slide 1
PDS Data Review
New Horizons Pluto Encounter
Student Dust Counter
October 10, 2018
Jim Gaier
NASA Glenn Research Center

## Slide 2: Documentation
No new problems were identified outside of missing sequence file but some questions arose:
  Catalog/SDC
    Operational Considerations
      2) Stimulus calibrations generate false positives
        Last documented July 2016 so not in this data set
        Have there been any calibrations since July 2016?
      4) No particle events over 2.8E-10 g (3 m) as of late 2016
        Reason under active discussion by science team and eventually addressed in a future delivery of SDC data sets
        Any larger particles found in this data set?
        Status of these discussions?
        Plan to address?

## Slide 3: Raw Data  Calibrated data
  Used NASAView to look at first data set
  Calibrated data was consistent with raw data
    2 mass  4% DN “above” threshold value
    4 mass  8% DN “above” threshold value
    Data sparse (28 hits over 92.4 hr)
      10 occurred within same MET sec
        All 10 greater than 2 mass
    Of rest of data
      1 above 4 mass
      2 above 2 mass
      11 below 2 mass
Chart: October 26, 2016
| 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339805095 | 339818538 | 339823323 | 339828758 | 339834281 | 339834414 | 339835848 | 339848525 | 339850520 | 339857333 | 339866397 | 339884838 | 339892566 | 340134168
 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 12 | 14 | 1 | 2 | 8 | 1 | 10 | 5 | 6 | 4 | 4 | 1 | 14 | 2 | 9 | 3 | 2 | 5 | 3 | 8

## Slide 4: Calibrated Data
Many hits come in clusters of many channels at same time – quality flag of “OK”
  “OK” implies no thruster firing
Chart: November 15, 2016
| 341462596 | 341465597 | 341466296 | 341466689 | 341466689 | 341466689 | 341466689 | 341466689 | 341466689 | 341466689 | 341466689 | 341466689 | 341466689 | 341466689 | 341466689 | 341466689 | 341466689 | 341466689 | 341493476 | 341497335 | 341497455 | 341502056 | 341505002 | 341512038 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389 | 341514389
 | 6 | 4 | 2 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 12 | 14 | 1 | 2 | 6 | 12 | 8 | 13 | 14 | 2 | 2 | 13 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 12 | 13 | 14 | 1 | 2 | 3
Chart: July 7, 2017
| 361732079 | 361735444 | 361735918 | 361736036 | 361741273 | 361744377 | 361749295 | 361750261 | 361755552 | 361767110 | 361767914 | 361773416 | 361777991 | 361780731 | 361787967 | 361791393 | 361802590 | 361807749 | 361807749 | 361807749 | 361807749 | 361807749 | 361807749 | 361807749 | 361807749 | 361807749 | 361807749 | 361807749 | 361807749 | 361807749 | 361811974 | 361812941
 | 2 | 14 | 5 | 2 | 12 | 3 | 12 | 2 | 5 | 14 | 12 | 7 | 7 | 14 | 8 | 6 | 4 | 5 | 6 | 4 | 8 | 9 | 10 | 7 | 1 | 13 | 3 | 12 | 14 | 2 | 3 | 1
Chart: October 26, 2016
| 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339801629 | 339805095 | 339818538 | 339823323 | 339828758 | 339834281 | 339834414 | 339835848 | 339848525 | 339850520 | 339857333 | 339866397 | 339884838 | 339892566 | 340134168
 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 12 | 14 | 1 | 2 | 8 | 1 | 10 | 5 | 6 | 4 | 4 | 1 | 14 | 2 | 9 | 3 | 2 | 5 | 3 | 8
Chart: December 17, 2017
| 375731849 | 375731849 | 375731849 | 375731849 | 375731849 | 375731849 | 375731849 | 375731849 | 375731849 | 375731849 | 375731849 | 375731849 | 375731849 | 375739845 | 375809050 | 375821849 | 375827127 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689 | 375843689
 | 9 | 12 | 6 | 7 | 6 | 4 | 1 | 10 | 3 | 8 | 5 | 14 | 7 | 6 | 6 | 2 | 13 | 13 | 13 | 2 | 3 | 3 | 5 | 6 | 8 | 8 | 10 | 10 | 12 | 12 | 13 | 14 | 4 | 2 | 2 | 14 | 9 | 4 | 5 | 1 | 7 | 1 | 4 | 3 | 1

## Slide 5: Problem
SOC to Instrument Pipeline ICD
  “The maximum number of recorded hits in one second on a given channel for SDC is in general 3. The way the timing works it is possible to get up to 5 hits/second. However, if more than one hit is recorded in one second (instrument wide) this is considered a coincident event and will be flagged. The science processing interprets such an event as s/c noise and removes it.”
The Raw Data contain many of these coincident events that are not being removed.

## Slide 6: Calibrated Data
  Used NASAView to look at 4 data sets
    Beginning, end, 2 in between
  Distribution of data among channels relatively even
    Data sparse (150 hits in 150 hr)
    No channel bias seen in limited data
    8 non-coincident data > 2
      Only 8 solid hits in 150 hr
      4 hits > 4
Chart: Non-Coincident Hits > 2 sigma
 | 1 | 2 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 2 | 0 | 0
Chart: Hits > 2 sigma
 | 3 | 7 | 3 | 2 | 5 | 3 | 1 | 6 | 3 | 5 | 0 | 7 | 6 | 5