## Slide 1: PDS-SBN Review of New Horizons LEISA (Cruise) Data
M. DiSanti
10 October 2018

## Slide 2: LEISA
A near-IR (1.2 – 2.5 micron) spectrometer that uses a 256x256 Rockwell PICNIC array, with 40 micron square pixels.
It produces low-resolution (l/Dl ~ 240) and higher-resolution (l/Dl ~ 540) spectra over separate sections (ranges of 54 and 199 rows) that are separated by 4 rows obscured by a bond joint.
Note: “Hi-res” l/Dl ~ 425 for Pluto
flyby data, but 540 for cruise phase

## Slide 3
A spatial-spectral data cube is created by scanning the FOV across the target in a “push-broom” fashion. The data cube is a 3-dimensional array having 256x256xN elements, where N is the number of 256x256 files accumulated over the scan.
e.g., read in calibrated FITS file = ‘nh-x-leisa-2-kemcruise1-v1.0/data/20170921_036833/lsb_0368336219_0x53c_eng.fit’
file = file(x,y,z),
x=spatial (256 elements),
y=lambda(256 elements),
z=spectral/spatial
(N=elements; e.g., N=350)
(i.e., lambda varies spatially)
[figure from ‘leisa_data.pdf’ in
folder ‘document’]

## Slide 4
Transpose file(x,y,z) [256,256,N]  file_tr(x,z,y) [256,N,256]
file(0:255,0:N-1,0)
file(0:255,0:N-1,127)
file(0:255,0:N-1,255)

shift -
register
file_tr_sh(0:255,0:N-1,S[0:255])
(i.e., over all lambda)
(Some residual wobble in x-dim)
LEISA Pluto flyby Data

## Slide 5
LEISA CRUISE DATA
Arcturus
Unregistered images
l = 2.49 mm (low resln)
l = 2.08 mm (high resln)
l = 2.144 mm (high resln)
Arcturus
Registered image
/data/20170921_036833/lsb_0368336219_0x53c_eng.fit

## Slide 6
LEISA CRUISE DATA
“Calibration”/Alpha Lyrae
/data/20171103_037203/lsb_0372030719_0x53c_eng.fit
Channel 44 (2.13 mm)
Channel 81 (1.86 mm)
Channel 255 (2.088 mm)

## Slide 7
Arcturus: spatial profiles near 2.2 and 1.6 µm
(/data/20170921_036833/lsb_0368336219_0x53c_eng.fit)
l 2.24 µm
l 1.56 µm
peak 190,307
peak 190,307

## Slide 8
Pluto/Sputnik Planatia; Arcturus

## Slide 9
Arcturus: stellar profile and spectral extracts
(/data/20170921_036833/lsb_0368336219_0x53c_eng.fit)
centered at pixel (189,308)

## Slide 10
Cthulhu Regio – Arcturus Spectral Comparison
Bottom line: Navigation seems good for (some of) the Arcturus observations, but the spectrum is affected by (likely instrumental?) “noise” (and slight wobble in X).
Cthulhu high resolution (l/Dl ~ 420)
Cthulhu low resolution (l/Dl ~ 240)
Arcturus low resolution (l/Dl ~ 240)

## Slide 11
MU69 Approach 31 Dec 2018
Bottom line: Unable to see anything, regardless of stretch. Seems to be instrumental noise.
unregistered
“registered”

## Slide 12
MU69 Approach 31 Dec 2018
Bottom line: Unable to see anything, regardless of stretch. Seems to be instrumental noise.
unregistered
“registered”
lambda256
“registered”
lambda100