## Slide 1: PDS-SBN Review of New Horizons LEISA Data (2014 MU69 Approach)
M. DiSanti
28 May 2020

## Slide 2
A spatial-spectral data cube is created by scanning the FOV across the target in a “push-broom” fashion. The data cube is a 3-dimensional array having 256x256xN elements, where N is the number of 256x256 files accumulated over the scan.
e.g., read in calibrated FITS file = ‘nh-p-leisa-3-pluto-v2.0/data/20150714_029917/lsb_0299172889_0x53c_sci.fit’
file = file(x,y,z),
x=spatial (256 elements),
y=lambda(256 elements),
z=spectral/spatial
(N=elements; e.g., N=371)
(i.e., lambda varies spatially)
[figure from ‘leisa_data.pdf’ in
folder ‘document’]

## Slide 3: LEISA
A near-IR (1.2 – 2.5 micron) spectrometer that uses a 256x256 Rockwell PICNIC array, with 40-micron square pixels.
It produces low-resolution (l/Dl ~ 240) and higher-resolution (l/Dl ~ 540) spectra over separate sections (ranges of 54 and 199 rows) that are separated by 4 rows obscured by a bond joint.
Note: “Hi-res” l/Dl was ~ 425 for Pluto flyby data (as below) but is ~ 540 for cruise & 2014 MU69 approach phases (recalibration)

## Slide 4
LEISA Wavelength Calibration
lambda
Delta-lambda x 100
Lambda / Delta-lambda

## Slide 5
Transpose file(x,y,z) [256,256,N]  file_tr(x,z,y) [256,N,256]
file(0:255,0:N-1,0)
file(0:255,0:N-1,127)
file(0:255,0:N-1,255)

shift -
register
file_tr_sh(0:255,0:N-1,S[0:255])
(i.e., summed over all lambdas)
(Some residual wobble in x-dim)
LEISA Pluto flyby Data

## Slide 6
Arrokoth (2014 MU69) Approach
“First Look” at MU69, at
d~106 km (with LORRI)

## Slide 7
LEISA MU69 Approach DATA

## Slide 8
LEISA CRUISE DATA (20aug2018)
/data/20180820_039709/lsb_0397097519_0x53c_eng.fit (Alpha Lyrae)
Channel 9 (2.4088 mm)
Channel 250 (2.1038 mm)
Channel 194 (1.2384 mm)
Low-res (l/Dl ~ 243)
High-res (l/Dl ~ 542)
|<-------------------------------------------------------------------------------->|
(Spatially unregistered)

## Slide 9
LEISA CRUISE DATA (20aug2018)
/data/20180820_039709/lsb_0397097519_0x53c_eng.fit (Alpha Lyrae)
Channel 9 (2.4088 mm)
Channel 250 (2.1038 mm)
Channel 194 (1.2384 mm)
Low-res (l/Dl ~ 243)
High-res (l/Dl ~ 542)
|<-------------------------------------------------------------------------------->|
(Spatially registered)

## Slide 10
LEISA CRUISE DATA (20aug2018)
/data/20180820_039709/lsb_0397097519_0x53c_eng.fit (Alpha Lyrae)
Channel 9 (2.4088 mm)
Channel 250 (2.1038 mm)
Channel 194 (1.2384 mm)
Low-res (l/Dl ~ 243)
High-res (l/Dl ~ 542)
|<-------------------------------------------------------------------------------->|
(Spatially registered)

## Slide 11
LEISA MU69 Approach

## Slide 12
LEISA approaching MU69 (01jan2019)
lsb_0408624418_0x53c_eng.fit (04:50 – 05:05 UT), <d> = 31.2e3 km
Ch255
(high_res2.0895 mm)
Ch1
(low_res2.4744 mm)
Spatially
Unregistered
(Raw)
End: row173
Start: row392 
Ch127
(low_res1.5748 mm)
Mid: row290 
Subtract median
at each step in l

## Slide 13
LEISA approaching MU69 (01jan2019)
lsb_0408624418_0x53c_eng.fit (04:50 – 05:05 UT), <d> = 31.2e3 km
Ch255
(high_res2.0895 mm)
Ch1
(low_res2.4744 mm)
Spatially
Registered
(Raw)
 Row173
Start: row392 
Ch127
(low_res1. mm)
Mid: row290 

## Slide 14
LEISA Intensity Calibration
Row10
Row230
Row50
Row127
Row199
Could express as flux density,
e.g., Rayleighs/Angstrom
(106 ph s-1 cm-2 A-1)
once aperture (e.g., pixel) angular subtense is specified. The pixel solid angle Omega(pix) 1.7e-7 sr (taken from ‘calinfo.txt’).


## Slide 15
LEISA approaching MU69 (01jan2019)
lsb_0408624418_0x53c_eng.fit (04:50 – 05:05 UT), <d> = 31.2e3 km
Ch255
(high_res2.0895 mm)
Ch1
(low_res2.4744 mm)
Spatially
Registered
(Calibrated)
 Row173
Start: row392 
Ch127
(low_res1. mm)
Mid: row290 

## Slide 16
LEISA approaching MU69 (01jan2019)
/data/20190101_040862/lsb_0408621929_0x53c_eng.fit (04:14 - 04:22 UT), 65.5e3 km
(Spatially unregistered)
End: peak row = 26
Start: peak row=285 
Ch255
(high_res2.0895 mm)
Ch1
(low_res2.4842 mm)

## Slide 17
Summary/Suggestions
LEISA frames read in fine, for both raw and calibrated) data.
lambda 2.5-1.225um (rows0 thru 199, low res), 2.25-2.10um (rows204 thru 255, hi res).
Asteroid Arrokoth (2014 MU69) is clearly detected at 65e3 and 31e3 km, but tough to see at 102e3km.
While Vega scan direction is “as expected” (target moved upward through lambda, as w/ Pluto scans), MU69 scan direction is reversed (target moved downward through lambda). In each case it was ~1 row per step in l.
(Question: Is this due to S/C roll? If so, is there a keyword indicator in the .lbl files?)
Spatial Registration
Both Vega and MU69 data show some “wobble” in the x-direction, more so for Vega, less so for MU69.
Difficult to extract spectra for Vega or MU69, due to spatial smearing (not so critical for Pluto).
Should be less important for MU69, near closest flyby approach of ~3500 km.
Owing to the reversal in scan direction for MU69, the algorithm to register MU69 data toward closest approach was revised; downward drift rate seems constant, as expected.
Typo in “calinfo.txt’, “I is the **intergration** time, seconds.”
Looking forward to seeing the actual MU69 flyby data.