## Slide 1: New Horizons KEM1 Data Set nh-p_psa-lorri_alice_rex-5-atmos-v2.0
Lori Feaga (UMD)
Feb. 9, 2022

## Slide 2: Documentation check
All previous minor liens seem to be fixed
Same as Version 1, but why different collection of documents than all other datasets?
  Some may not be applicable for derived data (Level 5), but nh_met2utc, nh_fov, and payload_ssr should be useful
New Data Check
Only addition to this data set is data/starocc/ directory according to dataset.cat and independent overview
Looked for proper versioning updates, seem to be in good shape
New data read in and manipulated with readpds
Compared with published data
All checks out, no suggested liens

## Slide 3: Geometry of observations (Kammer et al. 2020, Fig. 5)
Appulse star
Occulting star
Expect very little signal decrease from appulse star
Expect clear signal decrease from occulting star

## Slide 4: New Data Verification – Appulse Star
Opened multi-extension .fit file (pa_starocc_1s_spectra_v1.fit ) with ds9
Worked fine
Opened multi-extension .fit file
in IDL via its .lbl file (pa_starocc_1s_spectra_v1.lbl)
Worked fine

## Slide 5: Multiple individual extracted spectra

## Slide 6: Data Verification – Occulting Star
Time increasing
Systematic
modulation
with time described in documentation
Occultation
Egress

## Slide 7: Occultation time series plot
Occultation
Egress

## Slide 8: Wavelength response to occultation
Occultation
Egress
Smoothed to show instrument modulation
Modulation apparent

## Slide 9: Data Verification Against Published Data
Kammer et al. (2020); Fig. 4
PDS Data

## Slide 10: Data Verification Against Published Data (con’t)
Kammer et al. (2020); Fig. 10
PDS Data
Wavelength (Ang)
Wavelength (nm)

## Slide 11: No Liens!