## Slide 1: DART/DRACO Data Review
Jian-Yang Li
Planetary Science Institute
September 15, 2023

## Slide 2: Overview
DART/DRACO data bundle
Four data collections
  Raw data (raw)
  Calibrated data (cal)
  Derived data product (ddp)
  Documentation
Contain all images collected by DRACO throughout the DART mission
  From commissioning to the last partial image in the final phase
  Calibration data are also included in the cal data collection
Document collection includes four files
  SIS v3 (updated from previous v2)
  Calibration pipeline description v2 (same as before)
  Dimorphos coordinate system v2 (updated from v1)
  Didymos coordinate system v1 (new)
Review summary: No major problems found, one very minor issue about geometry to be discussed, and some typos
GREAT JOB DRACO TEAM!

## Slide 3: Comparative review process
Documentation
  Compare with the previous version for the SIS and Dimorphos coordinate system
  Read through the Didymos coordinate system documentation
  Skip the calibration document
Data
  Check all data, focusing on three phases: approach, terminal, and final
  Extracted and checked the values of many keywords for all raw and cal images based on SIS and calibration pipeline description, to search for any conflicts, inconsistencies, or if the values make sense
  Check the orientation of a few images using multiple software
  Compare raw and cal images for the consistency of keywords
  Compare with previous version for changes and consistency
  Calculate some basic geometric parameters using SPICE and compare with the values in image headers
Didn’t do
  Try to calibrate the data from raw to cal following the calibration document
  Check the correctness of calibration

## Slide 4: Results
No inconsistency in keyword values and descriptions is identified
All data appears to be nominal
I/F data plane in the ddp product needs to be updated to be consistent with the current data bundle
Some small discrepancies in the geometric parameters, details follow
Some typos listed separately

## Slide 5: Data review summary
Image can be opened and displayed correctly with `astropy.io.fits`, DS9, and PDS4_viewer, all with consistent orientation as described in SIS, PDS labels (.xml), and the PNG thumbnails
Compared to the previous version (approach, terminal, and final phases)
  All raw data are identical. The only changes are in the headers and labels
  15354 out of the 56054 cal data files changed, and others remain identical. This is due to the change of the LUT for global 1x mode, but not rolling, 30x mode – Thanks to Carolyn and Terik for sorting this out for me
Calibration data contain one new bad pixel map and 7 updated LUT files
  Bad pixel map identical with the previous version – no bad pixels identified
  Radiometric cal LUTs for all rolling modes and the global 30x mode appear to be identical, other global modes changed
Backplane data
  I/F plane contains v2 I/F data, which should be updated to v3 to be consistent with this data bundle
  Everything else looks good

## Slide 6: Document typos
Dimorphos coordinate system document
  Figure 1 caption: remove the o following )
  Figure 2 caption: remove "to the" after "anchor rock”
Didymos coordinate system document
  4th paragraph, p4, remove "via" or "by”
  Figure 2 caption incomplete
SIS document
  The whole pdf document contains track-changes. Should use a clean version
  Update version number in the footnote

## Slide 7: Geometry keyword values
Calculated seven geometric keywords: heliocentric distance, s/c range, phase angle, sub-s/c lat lon and sub-solar lat lon, all w/r to Dimorphos, and compare with the values in the FITS headers
Use meta kernel dart_v02.tm, kernels provided by Ray
Keyword values extracted from FITS headers: SHDIST, SSCRNG, SSPHASE, SSUBLAT, SSUBLON, SSSOLLAT, SSSOLLON
  SHDIST precision is 0.01, which is quite low
  SSCRNG has 5 significant digits, which is fine
  All angles have a precision of 0.01, which is fine, too

## Slide 8: Geometry keyword values
Overall agreement as the previous version, but small discrepancy in longitudes
Turning off light time correction will remove the discrepancy
Discussed with Hari, who did the calculation in his code in an identical way as what I do in my code
Small discrepancy that should not affect the use of data, but curious why
With light time correction
Without light time correction

## Slide 9: Conclusion
Excellent dataset!
Recommend to certify (but maybe not the ddp?)
Thank you DRACO team!