## Slide 1: PDS-SBN Review of New Horizons LEISA v6.0 Data
M. DiSanti
22 January 2024
“NEWLY ADDED” Data (at larger distances from 2014 MU69 )
nh-a-leisa-2-kem2-v1.0 (raw data)
nh-a-leisa-3-kem2-v1.0 (calibrated data)

## Slide 2
Review: A spatial-spectral data cube is created by scanning the FOV across the target in a “push-broom” fashion. The data cube is a 3-dimensional array having 256x256xN elements, where N is the number of 256x256 files accumulated over the scan.
e.g., read in calibrated FITS file = ‘nh-p-leisa-3-pluto-v2.0/data/20150714_029917/lsb_0299172889_0x53c_sci.fit’
file = file(x,y,z),
x=spatial (256 elements),
y=lambda(256 elements),
z=spectral/spatial
(N=elements; e.g., N=371)
(i.e., lambda varies spatially)
[figure from ‘leisa_data.pdf’ in
‘document’ folder]

## Slide 3: LEISA
A near-IR (1.2 – 2.5 micron) spectrometer that uses a 256x256 Rockwell PICNIC array, with 40-micron square pixels.
It produces low-resolution (l/Dl ~ 240) and higher-resolution (l/Dl ~ 540) spectra over separate sections (ranges of 54 and 199 rows) that are separated by 4 rows obscured by a bond joint.
Note: “Hi-res” l/Dl was ~ 425 for Pluto flyby data (as below) but is ~ 540 for cruise & 2014 MU69 approach phases (recalibration)

## Slide 4
LEISA Wavelength Calibration
lambda
Delta-lambda x 100
Lambda / Delta-lambda

## Slide 6
LEISA approaching MU69 (01jan2019)
lsb_0408624418_0x53c_eng.fit (04:50 – 05:05 UT), <d> = 31.2e3 km
Ch255
(high_res2.0895 mm)
Ch1
(low_res2.4744 mm)
Spatially
Unregistered
(Raw)
End: row173
Start: row392 
Ch127
(low_res1.5748 mm)
Mid: row290 
Subtract median
at each step in l

## Slide 7
LEISA approaching MU69 (01jan2019)
lsb_0408624418_0x53c_eng.fit (04:50 – 05:05 UT), <d> = 31.2e3 km
Ch255
(high_res2.0895 mm)
Ch1
(low_res2.4744 mm)
Spatially
Registered
(Raw)
 Row173
Start: row392 
Ch127
(low_res1.5748 mm)
Mid: row290 

## Slide 8
LEISA approaching MU69 (01jan2019)
lsb_0408624418_0x53c_sci.fit (calibrated), <d> = 31.2e3 km
Ch10
(low_res2.4004 mm)
Ch255
(high_res2.0895 mm)
Ch127
(low_res1.5748 mm)

## Slide 9
LEISA approaching MU69 (01jan2019)
lsb_0408621929_0x53c_sci.fit (calibrated), <d> = 65.5e3 km
Ch10
(low_res2.4004 mm)
Ch255
(high_res2.0895 mm)
Ch127
(low_res1.5748 mm)

## Slide 10
lsb_0408619338_0x53c_sci.fit (calibrated), <d> = 104e3 km
Ch10
(low_res2.4004 mm)
Ch225
(high_res2.1795 mm)
Ch127
(low_res1.5748 mm)
lsb_0408614341_0x53c_sci.fit (calibrated), <d> = 175e3 km







## Slide 11
LEISA approaching MU69 (01jan2019)
lsb_0408613050_0x53c_sci.fit (calibrated), <d> = 194e3 km
Ch10
(low_res2.4004 mm)
Ch190
(high_res1.2552 mm)
Ch127
(low_res1.5748 mm)




## Slide 12
LEISA approaching MU69 (01jan2019)
lsb_0408610468_0x53c_sci.fit (calibrated), <d> = 232e3 km
Ch10
(low_res2.4004 mm)
Ch190
(high_res1.2552 mm)
Ch127
(low_res1.5748 mm)




## Slide 13
LEISA approaching MU69
lsb_0408609177_0x53c_sci.fit (calibrated), <d> = 250e3 km (01jan2019)
Ch10
(low_res2.4004 mm)
Ch190
(high_res1.2552 mm)
Ch127
(low_res1.5748 mm)
lsb_0408606595_0x53c_sci.fit (calibrated), <d> = 288e3 km (31dec/01jan)
 (?)
 (?)
 (?)
 (?)
 (?)
 (?)

## Slide 14
LEISA approaching MU69 (31dec2019)
lsb_0408605304_0x53c_sci.fit (calibrated), <d> = 306e3 km
Ch10
(low_res2.4004 mm)
Ch190
(high_res1.2552 mm)
Ch127
(low_res1.5748 mm)



 (??)
 (??)
 (??)

## Slide 16
LEISA approaching MU69 (31dec2019)
lsb_0408593941_0x53c_sci.fit (calibrated), <d> = 470e3 km
Ch15
(low_res2.369 mm)
Ch195
(high_res1.236 mm)
Ch127
(low_res1.5748 mm)



 (??)
 (??)
 (??)
 (???)
 (???)
 (???)
NEW (Jan 2024)

## Slide 17
LEISA approaching MU69 (31dec2019)
lsb_0408587281_0x53c_sci.fit (calibrated), <d> = 566e3 km
Ch15
(low_res2.369 mm)
Ch195
(high_res1.236 mm)
Ch127
(low_res1.5748 mm)



 (??)
 (??)
 (??)
 (???)
 (???)
 (???)
 (?????)
 (?????)
 (?????)
NEW (Jan 2024)

## Slide 19
Summary/Suggestions
LEISA frames read in fine, for both raw and calibrated) data
This includes the current data cubes, at d = 470 & 566e3 km from MU69.
lambda 2.5-1.225um (rows0 thru 199, low res), 2.25-2.10um (rows204 thru 255, hi res). (These are separated by a ~4-row bond joint.)
Object MU69 is very difficult to see, in lsb_0408593941 at 470e3 km, and (especially) in
lsb_0408587281 at 566e3 km. Tough if not impossible to distinguish from the “salt&pepper” noise level/pattern.
Extracting spectra requires highly accurate spatial registration, both row-by-row (primary motion across lambda), but also accounting for (small) perpendicular “wobble” in stepping through lambda. Corrections were most reliable for Pluto, owing to its large apparent size during the flyby on 01-January-2019.
Questions/comments
Is there a keyword in the lbl files that informs the user as to the “sense” of data cubes? In particular, as to the direction of motion of the target when stepping through lambda?
Minor point, for clarification: *.lbl files list “TARGET_SUN_POSITION_VECTOR” and “TARGET_SUN_VELOCITY_VECTOR”, yet then lists “SOLAR_DISTANCE.” I suggest modifying the latter to “TARGET_SOLAR_DISTANCE” to avoid confusion with S/C solar distance (explicitly listed as such in the .lbl file).