## Slide 1
Thursday, 15 October, 2026
Driss Takir
Space Science Institute (Boulder, CO)
Tohoku University (Sendai, Japan)
Zhang, C., et al., Infrared Spectra of Trans-Neptunian Object Ice Analogs, Version 1.0, urn:nasa:pds:gbl-keck_lab:ir_ices_lab_spectra::1.0, NASA Planetary Data System, 2026

## Slide 2: Dataset Summary
The dataset consists of IR spectra of Trans-Neptunian Object (TNO) ice analogs
IR spectra consist of 13CH4, 13CH3OH, and 13CO2 ice and their spectra after GCR proxy processing.

## Slide 3: Positives
The dataset, which consists of IR spectra of Trans-Neptunian Object ice analogs, would be very beneficial and useful in interpreting ground-based and space-based (e.g., JWST) spectra of TNOs.
The authors have already published peer-reviewed manuscripts that include the proposed archived datasets.

## Slide 4: Recommendation#1
The Documentation/Overview file would benefit from including more information about the proposed archived datasets. For example, ice sample preparation, lab conditions (e.g., pressure, temperature) in which spectra were measured, preparation of TNO ice analogs, measurement viewing geometry, GCR proxy processing …
If all these details are covered in the two cited publications (Zhang et al.), please provide a brief highlight and summary in the Overview document.
In spectra files in the Data folder: please properly label the wavelength column (wavenumber) and intensity.

## Slide 5: Recommendation#2
Please provide separate documentation for the lab and instrument. This will make it easier for users to find such information, rather than having to read cited papers to find it.

## Slide 6: Recommendation#3
The thumbnails in the description of TNO ice analogs’ spectra seem to be missing; I could not locate them in the submitted datasets.

## Slide 7: Recommendations#4
Please describe whether the spectra are absolute or normalized. If they are normalized, please state the wavelength at which the spectra were normalized.

## Slide 8: Recommendation#5
Please include the uncertainties associated with the spectral measurements for each TNO ice analog and describe how those uncertainties were calculated.

## Slide 9: Dataset plotting- test
Chart: 13ch3oh_10k_ir